## Sheet1
Manufacturer | Part Number | Description
Qualitrol | AKM 44611/48471
Qualitrol | 150/151 | Mounting
Qualitrol | QUALITROL 165/167 and AKM47080
Qualitrol | 150/1511
Qualitrol | 165/167
Qualitrol | 1213
Qualitrol | 120
Qualitrol | 1054 | PUMPS FOR LIQUID -AIR MOTOR KIT 3:1 OILPUMP=GREEN CARD NO.1054 DT.12.7.02 VALIDTILL 21.7.18=100% EOU
Qualitrol | 104/TR60004 | remote mount thermometers
Qualitrol | 201/202/2055
Qualitrol | XPRD7
Qualitrol | 900-1A | Fault Pressure Relay
Qualitrol | 038-005-01 | Gas Accumulation Indicator
Qualitrol | 1050-35K
Qualitrol | 105035K
Qualitrol | 108-001-01 | USPP 10800101
Qualitrol | 10800101
Qualitrol | 109-119-02 | USPP 10911902
Qualitrol | 10911902
Qualitrol | 165-50-12J | QUALITHERM 0-120C DEG. TEMPERATURE GAUGE BRASS 4.5IN 57492
Qualitrol | 208-60E | LARGE PRESSURE RELIEF DEVICE 10PSI
Qualitrol | 3718659-G03 | NSPP 3718659G03
Qualitrol | 3718659G03
Qualitrol | 900-009-01 | USPP 90000901
Qualitrol | 90000901
Qualitrol | 9039-0010
Qualitrol | 90390010
Qualitrol | 201-020-08T | Air Pressure Relief Valve 5 PSIG
Qualitrol | AKM 35600 | Pressure/Vacuum Switch
Qualitrol | DAL-042-36 | USPP DAL04236
Qualitrol | 900-021-03 | Flange Mount Rapid Pressure Rise Relay RPRR
Qualitrol | IDM-LSU-MKII | IDMLSUMKII
Qualitrol | IDM-T2-IDM-DAU-DFRO-U/G | UPGRADE KIT IDM DFR
Qualitrol | 410727 06/23/08 | PRESSURE RELIEF DEVICE
Qualitrol | 109-026-02 | Temperature Controller
Qualitrol | 108-019-01 | USPP 10801901
Qualitrol | 118B-120-K-0-2 | TEMPERATURE MONITOR MODEL
Qualitrol | DGA150/250/400 | Dissolved Gas Analysis
Qualitrol | 104-673-03 CS-34413 | Remote winding temperature indicator
Qualitrol | PCB-637-2 | POWER CONTROL BOARD
Qualitrol | 118H-U-K-0-2 | ELECTRONIC MONITOR TEMPERATURE CONTROLLER
Qualitrol | 900-021-03 | Flange Mount Rapid Pressure Rise Relay RPRR Mode
Qualitrol | 92 | flow indicators
Qualitrol | 910-006-03 | RAPID PRESSURE RISE RELAY
Qualitrol | 400009767-02 | Corp Temperature Monitor 111L-X-X
Qualitrol | 107-002-01 | 250 ELECTRONIC ANALOG TEMPERATURE CONTROLLER
Qualitrol | 201-020-08T | Air Pressure Relief Valve 5 PSIG
Qualitrol | 108-018-01 | ELECTRONIC TEMPERATURE MONITOR CONTROLLER 69597
Qualitrol | 208-60S | LARGE PRESSURE RELIEF DEVICE, 208-60S, 12 PSI, 0.83 BAR 410725
Qualitrol | 208-60U | LARGE PRESSURE RELIEF DEVICE 8PSI 68714
Qualitrol | 165-50-12J | QUALITHERM 0-120C DEG. TEMPERATURE GAUGE BRASS 4.5IN 57492
Qualitrol | 33 | PRESSURE VACUUM SWITCH VALVE BOX
Qualitrol | DAL04249
Qualitrol | 486B35521 | Corp Liquid Flow Indicator
Qualitrol | DAL-010-5P | Liquid Temperature Gauge 0-160*C
Qualitrol | 104-302-07 | Remote Mount Thermometer 0-120C Liquid Temperature
Qualitrol | 104-302-07 | Remote Mount Thermometer 0-120C Liquid Temperature
Qualitrol | 50-35E | Pressure Guage with Vacuum Pressure Adjustment Controller
Qualitrol | 092-35U-2 | Oil Flow Indicator DAL-042-70
FOXBORO |  | FOXBORO DCS | FBM242 P0916TA
Qualitrol | DAL-042-70 | Oil Flow Indicator
Qualitrol | DAL-042-56 DAL04256 | Pump Liquid Flow Gauge CS-15159
Qualitrol | 8707D99-H03 | WINDING TEMPERATURE GAUGE
Qualitrol | DAL-026-155 | LIQUID LEVEL TEMPERATURE GAUGE
Qualitrol | 8-67159-5 | LIQUID LEVEL TEMPERATURE GAUGE
Qualitrol | 092-35U-2 | FLOW INDICATOR PUMP ON PUMP OFF OIL FLOW INDICATOR
Qualitrol | 208-60E | CORP 10PSI PRESSURE RELIEF DEVICE
Qualitrol | DAL04249 | Hot Oil Thermometer 0-180 F
Qualitrol | DAL-026-53 | Liquid Level Gage
Qualitrol | 104-633-01 | 6" Remote Mount Thermometer 20-180 C Winding Temperature
Qualitrol | 910-014-02 | Rapid Pressure Rise Relay
Qualitrol | 108-019-02 | ELECTRONIC TEMPERATURE MONITOR
FOXBORO |  | RMB 1,241.63 | K0173ZU
Qualitrol | 032-35AN | Liquid Level Gauge
Qualitrol | 208-60U | Pressure Relief Diaphragm 20860U
Qualitrol | 208-60 C | Pressure Relief Device 10 PSI Oil 208-60C
Qualitrol | 400009767-02 | Corp Temperature Monitor
Qualitrol | 211-001-01 | Pressure Relief Device
FOXBORO |  | FOXBORO DCS | P0926GG FBM224
Qualitrol | 202-037-01 | NPT BRASS PRESSURE RELIEF VALVE 1/2IN
Qualitrol | 92-35-I2R | LIQUID LEVEL GAUGE PUMP ON PUMP OFF
Qualitrol | COL-613-1 | Heater Resistance
Qualitrol | 900-003-02 | Sudden pressure relay,Mountıng:Flange Application: Oil Space Connector and cable assemblying:CON-630-3(cable lenght=8 feet,Power Supply:AC,Environmental Condition: Altitude<1000m MAX.ambient, Temperature=50C Heavy Duty
Qualitrol | 201-021 | LOW PRESSURE BRASS POP OFF SAFETY VALVES
Qualitrol | 092-052-01 | Oil flow indicator CAS-724-1 FLA-644-1
Qualitrol | CAB-633-1 | connector
Qualitrol | CAB-635-1 | connector
Qualitrol | CAB-634-1 | “MS” style connector
FOXBORO |  | FOXBORO DCS | P0926GX FBM233
Qualitrol | 256A1072P005 | INDICATOR , --: TYPE: FLOAT; SIZE: 6 IN DIAL; RANGE: EMPTY TO FULL; SCALE: 4 DIV; MATERIAL: ALUM; ADDITIONAL DATA: FOR LUBE OIL SYSTEM FIG.1038, FOR GE GAS TURBINE MS5001P. GE MOD - 42-60-DK GENERAL ELECTRIC/DIELEKTROL/LENTRONICS P/N# 256A1072P5 / 256A1072P005 QUALITROL/AKM KIHLSTROM/BETALARM APPLIC: LUBE OIL SYSTEM GE-MS5001P
Qualitrol | 256A1072P012 | INDICATOR,LEVEL: FLUID: OIL; RANGE: EMPTY TO FULL; SCALE: 1/4; SIZE: 6 IN DIA X 4-1/2 IN DP; MATERIAL: ALUMINIUM; STANDARD/SPECIFICATION: FAA AD 1977-07-07, AFNOR NF C52-106; ADDITIONAL DATA: QUALITROL/AKM KIHLSTROM/BETALARM: P/N#256A1072P012
Qualitrol | 045-013-01 | LIQUID LEVEL INDICATOR 71QH/QL General Electric 256A1072P014 Qualitrol 045-013-01
Qualitrol | 045-60E | INDICATOR : TYPE LIQUID LEVEL, REFER TO GE PN 256A1072P23(256A1072P023), FOR TURBINE SN 281941, MS5001P, ML 1038, MANUFACTURER QUALITROL, MODEL 45-60-E
Qualitrol | 256A1072P024 | 256A1072P024 Level Indicator
Qualitrol | 042-017-01 | HIGH AND LOW LUBE OIL LEVEL SWITCH WITH INDICATOR GE P/N: 256A1072P031 / 256A1072P020 PRESSURE SWITCH, HIGH & LOW LUBE OIL LVL • Instructions: (QT 400) • DWG: 9E4329E (71QH1, 71QL1) • Type: 8025 • From Qualitrol Co.
Qualitrol | 042-60FS | LIQUID LEVEL INDICATOR FLUID: LUBE OIL; RANGE: E-1/4-1/2-3/4-F; SCALE: 1/4; SIZE: 140 MM DIA; MATERIAL: ALUMINIUM; STANDARD/SPECIFICATION: FAA AD 1977-07-07, AFNOR NF C52-106; ADDITIONAL DATA: FLOAT TYPE, MOUNTING: SURFACE, WITH 6 L EADS, FOR INSTRUMENT AND CONTROL SYSTEM COOLING WATER SYSTEM LUBE OIL DWG NO: 4 2-60PS, GE-MS7001B, GE-MS7001E GENERAL ELECTRIC/DIELEKTROL/LENTRONICS: P/N#256A1072P21 QUALITROL/AKM KIHLSTROM/BETALARM: 042-60FS QUALITROL/AKM KIHLSTROM/BETALARM: 256A1072P021 GE - MS7001B
Qualitrol | 256A1072P033 | INDICATOR,--: TYPE: LIQUID LEVEL; SIZE: (148 MM X 175 MM) DIA X 110 MM LG; RANGE: EMPTY TO FULL; SCALE: EMPTY TO FULL; MATERIAL: STL; ADDITIONAL DATA: FOR COOLING WATER TANK,GE GAS TURBINE M S7001B AND E. GENERAL ELECTRIC/DIELEKTROL/LENTRONICS: P/N#256A1072P033 QUALITROL/AKM KIHLSTROM/BETALARM: P/N#256A1072P033 APPLIC: COOLING WATER TANK GE-MS7001B & E
Qualitrol | 042-023-01 | INDICATOR: TYPE LIQUID LEVEL, REFER TO GE PN 256A1072P38 / 256A1072P038, FOR TURBINE SN 281941, MS5001P, ML 1039, MANUFACTURER QUALITROL, MODEL 042-023-01
Qualitrol | 256A1072P039 | WATER LEVEL SWITCH WITH INDICATOR 71WL
Qualitrol | PPM-97
FOXBORO |  | FOXBORO DCS | P081000000GG
Qualitrol | 2-7540 | System Controller
Qualitrol | 2500A, 2000A & 800A | MV Circuit Breaker, Gas(SF6) In sulated,
Qualitrol | 104-310-01 | WINDING TEMP THERMOMETER WITH 2 SET
Qualitrol | 104-329-01 | LIQUID TEMP THERMOMETER WITH ALARM & TRIP
Qualitrol | TYPE 208-60 | SELF-RESET TYPE PRESSURE RELIEF DEVICE FOR TR
Qualitrol | TR6000B-00250158 | REMOTE THERM
Qualitrol | TR6000-00043068 - obsolete replaced by TR6000B-00250158
Qualitrol | 032-300-02 | Level indicator 032-300-02 CS-34548 6
QUALITROL | 092-300-01 | Oil Level indicator
Qualitrol | 031-102-07 | Tank level indicator 031.102.07.CS.40160
Qualitrol | 167-288-01 | 5 DIRECT MT THERMO 2 SW
Qualitrol | 030-062-01 | 3 LEVEL GAGE
Qualitrol | 045-60E | 6 GAGE UL CERT/2 SW; GE PN 256A1072P23 / 256A1072P023
Qualitrol | 2003-02-25 | thermmometer for power transformer(AKM)
Qualitrol | Serie 104-324-xx | Fernthermometer
FOXBORO |  | FOXBORO DCS | P0926DZ
Qualitrol | 48471 | MAX. THERMOMETER
Qualitrol | 44611-3 | TOP THERMOMETER
Qualitrol | 44611-2 | MAX. THERMOMETER
Qualitrol | 44611-1 | MAX. THERMOMETER
Qualitrol | 909-300-01 | AC-DC SEAL IN RELAY
Qualitrol | 120-001-01 | 6 DIRECT MT THERMO
Qualitrol | 208-60S | PRD 12 PSI
Qualitrol | 104-324-46 | 6" REMOTE MT THERMO 4 SW
Qualitrol | AKM345-00248001 | Winding Temperature Indicator
Qualitrol | AKM345-00248000 | OIL TEMP/WINDING TEMP INDICATOR
Qualitrol | 208-007-03 | PRESSURE RELIEF DEVICE 8 PSI
Qualitrol | CON-603-5 | 16/3 CONN ASBY 48".
Qualitrol | SWT-691-1 | SHIELD SWITCH DIR WIR
Qualitrol | SWT-639-1 | ALARM SWITCH-PRD
FOXBORO | FCM100E | FOXBORO DCS | P0971DY
Qualitrol | SWT-692-1 | SHIELD SWITCH, DIRWIR, DPDT
Qualitrol | SWT-680-1 | PRD DIRECT WIRING 2P
Qualitrol | SWT-673-1 | ALARM SWITCH PRD Qualitrol
Qualitrol | 208-011-04 | PRESSURE RELIEF DEVICE WITH GASKET AND AUXILIAR YSWITCHES 20801104, PRESSURE: 10PSI, (0.69 BAR)
Qualitrol | 213-006-01 | PRESSURE RELIEF DEVICE,20 PSI FOR ARC FURNACE TRANSFORMER WITH SERIAL N.O.: S8006B 120 MVA,33//0.549-1.143 KV
Qualitrol | 48515-1 (SWITCHING POWER SUPPLY) |  | P0926JM
Qualitrol | CAS-651-1 | 3.5 LL CASE ASBY
Qualitrol | IDM+ 36A/128D |  | FBM201 P0914SQ
Qualitrol | 900-009-03 | RELAY, PNEUMATIC; TYPE: RAPID PRESSURE RISE, MNFR DRG: BS4079501 REV 0 ITEM: 31, FFT: BODY MATERIAL: STEEL, LENS MATERIAL: GLASS; MOUNTED UNDER OIL ON GATE VALVE (SIZE: 2 IN), WITH VALVE GUARD; FOR SMALL POWER TRANSFORMER
FOXBORO | FBM203 P0916DD | FOXBORO DCS | FBM201 P0916DB
FOXBORO | FBM237 P0916DB | FOXBORO DCS | FBM202 P0926EQ
Qualitrol | LPRD00-00007560 | LARGE PRESSURE RELIEF DEVICE
Qualitrol | 7112C68G04 | PRESSURE; VACUUM, CASE
FOXBORO | FBM207 P0914WH | FOXBORO DCS | FBM203 P0916AE
Qualitrol | 104-680-02 | THERMOMETER, DIAL; TEMPERATURE RANGE: 0-160 DEGREE CENTIGRADE, DIAL SIZE: 6 INCHES, STEM LENGTH: 168 MILLIMETER, CAPILLARY LENGTH: 3658 MILLIMETER, CONNECTION TYPE: NPT, CONNECTION SIZE: 1/2 INCHES, TYPE: REMOTE WINDING, CONNECTION LOCATION: BOTTOM, MATERIAL: DIE-CAST AL, STANDARD: CSA; UL, ACCURACY: +/-2 PERCENTAGE, MNFR DRG: 10IA04-T01 REV 1 ITEM: 18, MNFR DRG: 15I31-T01 REV 01 ITEM: 18, MNFR DRG: EF5-306-H-004-320-7013-001 REV 2 ITEM: 18, FFT: WITH CONTACTS; FOR POWER TRANSFORMER (RATING: 500/560 KVA)
Qualitrol | 165-205-01 | THERMOMETER, DIAL; TEMPERATURE RANGE: 0-160 DEGREE CENTIGRADE, DIAL SIZE: 5 INCHES
FOXBORO | FBM207 P0916DD | FOXBORO DCS | FBM237 P0916CC
Qualitrol | 148-008-01 | GAUGE, COMPOUND; TYPE: PRESSURE AND VACUUM, RANGE: -10 TO 10 POUND PER SQUARE INCH CLASS, DIAL SIZE: 3.5 INCHES
FOXBORO | FBM242 P0916NG | FOXBORO DCS | FBM237 P0914XS
FOXBORO | FBM242 P0916FH | FOXBORO DCS | FBM237 P0916CC
FOXBORO | FBM242 P0916FK | FOXBORO DCS | FBM237 P0916QD
Qualitrol | 213-001-02 | Pressure Relief Device
Qualitrol | 351-2A | VALVE; CONNECTION SIZE: 1/4 INCHES, CONNECTION TYPE: 14-NPT, BODY MATERIAL: CAST ZINC-AL, TEMPERATURE RANGE: -40 TO 70 DEGREE CENTIGRADE
Qualitrol | 035-042-01 CS-43868 | 3.5 LEVEL GAGE 1 SW with dial diameter 90mm
FOXBORO | FBM206 P0916JQ | FOXBORO DCS | FBM207 P0916FH
Qualitrol | 208-007-04 CS-43391 | LARGE PRESSURE RELİEF DEVİCES (PRD)4.3 PSI 2 SW with 10 PSI (Gold Sw.)
Qualitrol | 104-324-26 CS-43867 | PRESSURE RELİEF DEVİCES 4.3 PSI 2 SW with 10 PSI (Gold Sw.)
Qualitrol | АКМ 3440518Х-10.0 | with a degree of protection against water and dust IP65
Qualitrol | XPRD | Pressure relief valve
Qualitrol | WINDING THERMOMETER AKM | REMOTE THERMO
Qualitrol | TR6000-00031487 | 6" REMOTE THERMOMETER SERIES 104 MODEL NO. TR6000-00031487 BULB DIAMETER 0.481" THERMO WELL 3/4 NPT | FBM242 P0916JY
Qualitrol | STB-100-1 | smart transformer breather
Qualitrol | SERIES 509 | protection relays for high voltage transformers
Qualitrol | PV GAGE 15-0-15 | PRESSURE/VACUUM INDICATOR 0-15 PSI
Qualitrol | PV GAGE 10-0-10 PSI | PRESSURE/VACUUM INDICATOR 0-10 PSI | FBM242 P0916NG
Qualitrol | PV GAGE 10-0-10 PSI | PRESSURE/VACUUM INDICATOR 0-10 PSI
Qualitrol | 50 | PRESSURE/VACUUM INDICATOR 0-50 PSI
Qualitrol | IED 509-00029901 code: 509300 obsolete replacement IED509-00244662 | Load Tap Changer Monitor
Qualitrol | LPRD208
Qualitrol | LPRD00-00231294 | Valve, cup assembly 54154.0100-01 | FBM211 P0916BT
Qualitrol | LPRD00-00007362 | PRESSURE RELIEF DEVICE FOR SMIT MAKE IDT,8 PSI; CONTRACT NO: CE/102/97, TYPICAL SR. NO OF ID T: 220472
Qualitrol | IED509-00244662 | INTELLIGENT ELECT DEVICE
Qualitrol | DAL-026-70 | Local Lube Oil Lvl Gauge
Qualitrol | DAL-026-191 | 6'' LIQUID LEVEL GAGE; 042-60FT Manufacturer:QUALITROL; Model No:DAL-026-191 FRM-6; GE P/N: 256A1072P022
Qualitrol | CON-630-8 | connector and cable assembly 15 foot long
Qualitrol | CON-630-3 | 16/3 CONN ASBY 96"
Qualitrol | DAL-026-70 | Local Lube Oil Lvl Gauge
Qualitrol | DAL-026-19 | 4692 042-6QFT,CO43311A2, GE 256A1072PT22,FRM 6 LIQUID LEVEL GAGE GE P/N: 256A1072P022
Qualitrol | MSRT-150WF | Winding temperature indicator, 4 C/O contacts
Qualitrol | MSRT-150F | Oil temperature indicator, 2 C/O contacts
Qualitrol | CAB-625-4 | CABLE ,ASSY,TP K96
Qualitrol | AS1000-00193249 | MICROSWITCH/ 001-932-49
Qualitrol | AKM345-00246062 / 35 WTI | 002-460-62
Qualitrol | AKM345-00245976 | WINDING THERMOMETER TYPE: 35.2.06.15-4 002-459-76
Qualitrol | AKM345-00245975 | OIL TEMP/WINDING TEMP INDICATOR Thermometer Style 34 OTI Number of Switches 2 Dial Range 05 = -20-130C Probe Type 15 Capillary Length (M) 4 Switch Type STD SWITCH Remote Indication NONE Protection Class IP55 Case Finish RAL7000 Captive Hardware NO(FIXED) Lens Material POLYCARBONATE Label 46894 OTI Mounting STD MOUNTING Matching Resistance NONE Measuring Accuracy STANDARD Adjustable Differential NONE Switching Differential STANDARD Probe Connection STANDARD Capillary STANDARD(SS) Cable Entry PG16 | FBM216 P0916DB
Qualitrol | AKM345-00243386 | Termometar electric-- temperature indicator oil number of switches 4 range dial 05 = -20-130S, probe 16 capillary length (M) 10, | FBM216 P0916DD
Qualitrol | AKM345-00242703 | [OIL TEMP/WINDING TEMP INDICATOR Thermometer Style 34 OTI Number of Switches 4 Dial Range 05 = -20-130C Probe Type 19 Capillary Length (M) 10 Switch Type STD SWITCH] | FBM218 P0922VW
Qualitrol | AKM345-00237200 | Contact thermometer 002-372-00
Qualitrol | AKM345-00237158 | Contact thermometer 002-371-58
Qualitrol | AKM344-0519 X 10,00 > REPLACED BY > AKM345-00242703 | Remote mount thermometer 002-427-03
Qualitrol | AKM345-00237158 | OIL TEMP/WINDING TEMP INDICATOR 002-371-58
Qualitrol | AKM 35 | Winding Thermometer
Qualitrol | AKM 34
Qualitrol | 910-010-03 | RAPID PRESSURE RISE FLG Q W/VENT
Qualitrol | 909-200-01 | Seal-in relay | P0916AJ
Qualitrol | 48515-1 | Power supply, Input 100 to 240 V Ac/90 to 250 V DC Output 24 V DC 0.65 A
Qualitrol | 34.4.01.12x-6.0 / AKM345-00237481 | themometer | P0971WV
FOXBORO | GCIO | Foxboro I/A | P0903ZE
Qualitrol | 213-006-01 | PRESSURE RELIEF DEVICE
Qualitrol | 208-60AJ-C5-32027 | PRESSURE, DEVICE,PERATING PRESSURE:
Qualitrol | 206-70N-12 | PRESSURE RELIEF DEVICE,PRESSURE SETTING 10 PSI, FOR AREVA EARTHING TRANSFORMER
Qualitrol | 205-012-01 | PRESSURE RELIEF VALVE
Qualitrol | 148-010-01 | pressure switch
Qualitrol | 118L-3-P-X-X | MONITORING RANGE 0-200 DEG C FOR DRY
Qualitrol | 118ITM-P-4-M | TEMPERATURE, ELECTRONIC
Qualitrol | 909-200-01 | Seal-in relay
Qualitrol | 38920-3 | SF6 gas density monitors
Qualitrol | AKM345-00237481 | themometer
Qualitrol | 213-006-01 | PRESSURE RELIEF DEVICE,20 PSI FOR ARC FURNACE TRANSFORMER WITH SERIAL N.O.: S8006B 120 MVA,33//0.549-1.143 KV
Qualitrol | 208-60AJ-C5-32027 | PRESSURE, DEVICE,PERATING PRESSURE: 7 PSI (0.48 BAR), CODE: 235169, WITH ALARM OR SIGNAL SWITCH,FOR LIQUID-FILLED TRANSFORMERS
Qualitrol | 208-002-01 | Wide relief valve contactless 0.28 Bar
Qualitrol | 206-70N-12 | PRESSURE RELIEF DEVICE,PRESSURE SETTING 10 PSI, FOR AREVA EARTHING TRANSFORMER
Qualitrol | 205-012-01 | PRESSURE RELIEF VALVE | P0911AC
Qualitrol | 148-010-02
Qualitrol | 148-010-01 | pressure switch
Qualitrol | 118L-3-P-X-X | MONITORING RANGE 0-200 DEG C FOR DRY
Qualitrol | 118ITM-P-4 | SENSOR,F/TRANSFO RMER,C/W 3
Qualitrol | 118H-U-K-02 | Electronic Temperature Monitor
Qualitrol | 111W-X-X WINDING ETM | THERMOMETER: FMW 1.0.1. QUALITROL COMPANY MANUFACTURER P/N : 111W-X-X CITICALITY : 2, VENDOR/SUPPLIER CERTIFICATES, MILL TEST REPORT
Qualitrol | 111W-X-X | THERMOMETER
Qualitrol | 104-328-01 | INDICATOR,TEMPERATURE, WINDING,0-160 DEG C
Qualitrol | 050-35E | Gauge, Pressure And Vacuum Range 0-10PSIG, EQUAL DIV 1/4IN NPT Brass, Back Conn 3-1/2IN Face, Hal Transformer L-0404/0407
Qualitrol | 050-021-01 | PV GAGE 10-0-10 PSI
Qualitrol | 050-010-01 | Vaccum & pressure indicator (-1+2),Dial Range:-15 to =15 pig Application:for transformer oil or N2gas spaco Environmental Condition:ALTITUDE<1000M,Max:ambent temperature=50C,Heavy duty Rall:7038
Qualitrol | 042-334-05 | Liquid Level Gauge (complete set with Float & Auxiliary Contact)
Qualitrol | 900-003-01 | Qualitrol Corp. Rapid Pressure Rise Relay
Qualitrol | DAL-042-49 | DAL04249 Level Gauge
Qualitrol | 050-011-01 | Pressure / Vacuum Gauge
Qualitrol | 1050-35K | USPP 105035K
Qualitrol | 201-020-08T | Air Pressure Relief Valve 5 PSIG
| FBM22 | Foxboro I/A | P0400YF
| FBM26 |  | FBM12
| P0600TV-F1 |  | FBM13
| P0901YT |  | P0400YT
| P0400YT FBM17 |  | P0400YJ
| P0400YE FBM04 |  | FBM08
| P0400YG FBM06 |  | FBM27
| P0400Y FBM07 |  | P0400YL
| p0916ae |  | P0970KT
| p0971wv dnbt |  | P0960AW
| p0903cw |  | P0500GM
| fbm04 p0400ye |  | P0400CV
p0914sv fbm203
p0971wv-dnbt
p0911vj
p0903zl
p0916jp
130k-n4-llpf
p0916aa
p0916fk
fbm05 p0400yf
fbm41
fbm07 cm400yh
p0400zg
p0916jw
FBM201d
FBM202
FBM203
FBM203b
FBM203c
FBM204
FBM206
FBM207
FBM207b
FBM207c
FBM208
FBM211
FBM212
FBM214
FBM215
FBM216
FBM217
FBM218
FBM219
FBM223
FBM228
FBM230
FBM231
FBM232
FBM233
FBM237
FBM241
FBM241b
FBM241c
FBM241d
FBM242
FBM201b P0922YH
FBM201d P0922YK
FBM203 P0914SV
FBM203b P0922UA
FBM203c P0922UD
FBM206 P0916CQ
FBM207 P0914TD
FBM207b P0914WH
FBM212 P0914XL
FBM213 P0914XN(P0914SV)
FBM223 P0917HD
FBM224 P0926GG
FBM241b P0914WK
FBM214d P0914WP
FBM243 P0914TK
P92204670700
P0923DZ
P0973BP
P0926CP ZCP270
P0973BK
P0917YZ
P0973EY
P0926TH FBM222
B21100000000
FCM2F P0916TQ
P0917XV
P0917HU
P0926GS
P0972UN