## 机组报价单
Offer for 1x2MW HFO power plant
No. | Equipment | Qty | Unit | Unit Price (USD) | Total Price Heavy Fuel Oil Data 1. SP. Gravity at 15.6 C° = 0.9658 . 2. ABI. Gravity at 15.6 C° = 15. 3. Flash point = 108 C° . 4. Pour point = – 6 C°. 5. Viscosity at 50 C° = 261 Cst. 6. Ash content= 0.02 %. 7. Water content= 0.1%. 8. Temp. degree of oil = ( 5 – 50 ) C | Remark
1 | 柴油发电机组 2000kW 400V Standard 2MW/400V/50HZ gen- set | 1 | sets | 562285.7143 | 562285.7143
1.1 | 中速柴油机 EngineG8300 2206kW@600rpm | 1 | sets
1.2 | 柴油机附属设备 Diesel engine accessory equipments | 1 | lots
1.2.1 | 机带高温循环水泵 Engine driven HT circulating water pump
1.2.2 | 机带低温循环水泵 Engine driven LT circulating water pump
1.2.3 | 机带润滑油泵 Engine driven LO pump
1.2.4 | 扭震减振器 Torsional vibration damper
1.2.5 | 调速器 Speed governor
1.2.6 | 增压器 Turbocharger
1.2.7 | 中冷器 Intercooler
1.2.8 | 燃油滤清器 Fuel strainer
1.2.9 | 预润滑电动油泵 Prelubricating LO pump
1.2.10 | 水温控制阀 Water thermostatic valve
1.2.11 | 高温淡水冷却器 HT Water Cooler
1.2.12 | 滑油控制阀 Lubricating oil thermostatic valve
1.2.13 | 润滑油冷却器 Lubricating oil Cooler
1.2.14 | 机旁仪表控制台 Local control desk
1.2.15 | 滑油滤清器 Lubricating oil filter
1.2.16 | 滑油压力控制阀 Lubricating oil pressure control valve
1.3 | 发电机 400V 10P IP23 600rpm Three phase syn. brushless alternator | 1 | sets
1.4 | 机组开关柜 Gen-set Switchgear | 1 | sets |  |  | GGD，带继保
1.5 | 机组集控台 Gen-set control board | 1 | sets
1.6 | 机组机旁台 Gen-set local control desk | 1 | sets
1.7 | 辅助设备控制屏 Auxiliary equipment control panel | 1 | sets
1.8 | 共同底座及联轴器 Common base frame and flexible coupling | 1 | sets
1.9 | 电动空压机组 Electrical motor driven air compressor | 1 | sets
1.10 | 压缩空气瓶 Compressed air receiver | 1 | sets
2 | 电站机组外围机械设备 Power Plant Auxiliary Equipment | 1 | lots | 21428.5714 | 21428.5714
2.1 | 排气消音器 Exhaust silencer | 1 | PCs
2.2 | 膨胀节 Expansion joint | 1 | PCs
2.3 | 排气管 Exhaust piping | 1 | lots
2.4 | 冷却塔 Cooling tower | 1 | PCs
2.5 | 高温水膨胀水箱 HT water expansion tank | 1 | PCs
2.6 | 管道旁通离心滤器 Bypass type centrifugal separator | 1 | PCs
2.7 | 滑油液位指示器 Lubricating oil level indication | 1 | sets
2.8 | 电站移动润滑油泵 Power plant dolly LO pump | 1 | set
2.9 | 污油箱+抽油泵 Sludge tank with pump | 1 | set
3 | 电站电气动力柜 Power Plant Electrical Panel | 1 | lot | 41142.8571 | 41142.8571
3.1 | 电站总出线柜 2000A Power Plant 400V Main Outgoing panel | 1 | PC
3.2 | 电站低压柜 （GCS柜） 400V LV distribution Panel | 1 | PCs
3.3 | 电站直流电源 DC Power for power plant | 1 | set
3.4 | 油库动力箱 400 Volt supply panel for fuel station | 1 | PC
3.5 | 电站检修动力箱 Power plant maintanence cabinet | 4 | PC
4 | 重油处理设备 HFO Treatment Equipment | 1 | lot | 192000 | 192000
4.1 | 重油分离机组 HFO Purified Separator module | 1 | set |  |  | Twin(1w+1s)
4.1.1 | 自动重油分离机组（导热油加热） HFO separator set (Thermal oil heating)
4.1.2 | 分离机组控制箱 Separator set control box
4.1.3 | 渣油箱及渣油泵 Sludge oil tank and sludge pump
4.2 | 供油单元 （导热油加热）Fuel booster module （Thernal oil Heating) | 1 | set
4.2.1 | 重油循环油泵（日用重油箱到柴油机） HFO circulating pump
4.2.2 | 重油压力调节阀 HFO pressure regulating valve
4.2.3 | 重油流量表（带滤器） HFO flow meter (with strainer)
4.2.4 | 粘度控制器+执行阀 Viscosity controller & Valve control
4.2.5 | 混合油桶 Mixing barrel
4.2.6 | 自动反冲洗滤器滤器 Self clean filter
4.2.7 | 控制箱 Control Box
4.3 | 废气余热导热油锅炉 Exhaust gas heating steam boiler | 1 | sets
4.3.1 | 废气导热油锅炉 Thermal Oil Exhaust Gas Boiler | 1 | sets
4.3.2 | 导热油 Thermal Oil for first time | 1 | lot
4.4 | 重油卸油模块 HFO unloading and transfer pump unit with flow meter | 1 | set
4.4.1 | 卸油泵 Gear Pump | 2 | sets
4.4.2 | 滤器 Filter | 1 | PC
4.4.3 | 流量计 Flow Meter | 1 | PC
4.4.4 | 阀门、管道 Valves and Pipings | 1 | lot
4.4.5 | 马达控制箱 MCU panel | 1 | PC
4.5 | 柴油卸油模块 DO unloading and transfer pump unit with flow meter | 1 | set
4.5.1 | 卸油泵 Gear Pump | 2 | sets
4.5.2 | 滤器 Filter | 1 | PC
4.5.3 | 流量计 Flow Meter | 1 | PC
4.5.4 | 阀门、管道 Valves and Pipings | 1 | lot
4.5.5 | 马达控制箱 MCU panel | 1 | PC
5 | 机械材料(仅包括连接供方提供设备之间互联所必须的机械安装材料，如管道、法兰、接头等） Mechanical installation materials (only include necessary installation materail e.g. pipes, flanges and joints etc. for connection among equipments provided by the supplier) | 1 | lot | 21428.5714 | 21428.5714 | 可以提供清单供客户自己采购
6 | 电气安装材料(仅包括连接供方提供电气设备安装材料，如电线电缆等，发电机出线电缆等） Electrical installation materials (only include necessary materail e.g. wires and cables etc. for connection among equipments provided by the supplier） | 1 | lot | 20571.4286 | 20571.4286 | 可以提供清单供客户自己采购
7 | 随机备件工具(标准供货） Spare parts and special tools | 1 | lot | 0 | 0
8 | 文件 Documents | 1 | lot | 0 | 0
| Total |  |  |  | 858857.1429
Notes
All prices are based on FOB ningbo.
Quality guaranty: Provide full warranty within one year or 2000 operating hours from the date of delivery whichever comes first.
Date of delivery: 4 months after date of deposite.
Payment:50% advance payment, 50% before delivery.
Valid date for the offer: 1 months

## spare parts
序号 | 代 号 | 名 称 | 数量 | 备 注
Item | Part Code | Part Name | Qty | Remark
1 | G-01-027 | 摇臂座螺栓 | 1
Bolt of rocker arm frame
2 | G-01-037 | 阀帽 | 2
Valve cap
3 | G-01-038 | 卡块 | 2副
|  | Valve collet | Sets
4 | 8G-A01-041 | 气阀外弹簧 | 4
Outer valve spring
5 | G-01-A042 | 进气阀 | 2
Intake valve
6 | G-01-043 | 气阀导管 | 4 | 进排气阀导管通用
|  | Intake valve guide |  | Intake & exhaust valve guides general-purpose
7 | 8G-A01-047 | 气阀内弹簧 | 4
Inner valve spring
8 | G-A01-A072 | 排气阀 | 2
Exhaust valve
9 | G-01-207 | 顶架调节螺钉 | 2
Adjusting screw for valve
pushed holder
10 | G-01-212 | 调节螺钉 | 1
Adjusting screw
11 | G-01-218A | 顶架硬块 | 2
Balance block
12 | GB/T 6171-86 | 螺母M24×2 | 1 | 用于气阀调节
|  | Nut |  | Used for adjusting valve lash
13 | GB/T 6173-86 | 螺母M18×1.5 | 1 | 用于气阀顶架调节
|  | Nut |  | Used for adjusting
valve pushed holde
14 | GN-03-003 | 气缸套封水圈 | 3
Water-seal ring for
cylinder liner
15 | G-03-013C | 封水圈 | 30
Water-seal ring
16 | GN-03-015 | 气缸盖垫片 | 5
Cylinder head gasket
17 | GN-03-016 | 气缸套垫片 | 1
Cylinder liner copper-shim
18 | G-03-033 | 凸轮轴承 (盖) | 1
Camshaft bearing (in cap)
19 | G-03-034 | 凸轮轴承 (体) | 1
Camshaft bearing(in body)
20 | 8G-A04-003 | 轴瓦 | 4副 | 用于主轴承和连杆轴承
|  | Bearing metal | Sets | Used for main bearing
and crank pin bearing
21 | G-04-034 | 止推片 | 1副
|  | Thrust ring | Sets
22 | G-04-088 | 顶高螺栓 | 8
Jacking bolt
23 | GN-05-002 | 第一道活塞环 | 1
No.1 Compression ring
24 | GN-05-003 | 第二道活塞环 | 1
No.2 Compression ring
25 | GN-05-004 | 第三道活塞环 | 1
No.3 Compression ring
26 | GN-05-005 | 螺旋撑簧油环 | 1 | 第 四道 活 塞 环
| GN-05-006 | Oil scraper ring |  | No.4 Compression ring
GN-05-007
27 | 8GN-10-033A | 排气管垫片 | 2
| 8GN-10-034A | Exhaust pipe gasket | 1
28 | G-10B-600 | 气缸盖排气口垫片组件 | 2
Gasket sub-assy for exhaust port of cylinder head
29 | 8G-B10-700 | 增压器进口垫片(组 件) | 2 | ≤2795kW机用(use)
Turbocharger inlet gasket sub-assy
30 | 8GN-10-400 | 脉冲转换器波纹管组件 | 2
Pulse Converter bellow
31 | 8GN-10-034A | 脉冲转换器垫片 | 4
Gasket
32 | 8GN-10-300 | 波纹管组件 | 1
Bellow
33 | 8G-B10-300 | 波纹管组件 | 1
Bellow
34 | G-36-008 | 垫圈 | 2
Washer
35 | 8GN-44-1600 | 高压油管组件 | 1
Injection pipe sub-assy
36 | G-45D-011 | 柱塞弹簧 | 2 | ≤2795Kw机用(use)
Plunger spring
37 | G-45D-600A | 柱塞偶件 | 2副 | ≤2795Kw机用(use)
|  | Plunger with barrel | Sets
38 | 16V32G-210100A | 出油阀偶件 | 2副 | ≤2795Kw机用(use)
|  | Delivery valve sub-assy | Sets
39 | G-46S-200 | 喷油嘴偶件 | 2副
|  | Injection nozzle sub-assy | Sets
40 | G-46-05 | 垫片 | 2
Washer
41 | G-46-09 | 垫片 | 2
Washer
42 | G-66-A200 | 安全阀组件 | 1
Safety valve assy
43 | GJG-01-702 | 大密封圈座 | 2
Big seal-ring seat
44 | GJG-01-703 | 大密封圈 | 2
Big seal ring
45 | GJG-01-705 | 密封圈 | 2
Seal ring
46 | GJG-01-706 | 密封圈座 | 2
Seal ring seat
47 | GJG-02-105 | 大密封圈 | 2
Big seal ring
48 | GJG-02-106 | O型密封圈 | 2
O-shape seal ring
49 | Q/NDJ66-95 | 垫圈 10 | 2
Washer
50 | Q/NDJ66-95 | 垫圈 24 | 5
Washer
51 | Q/NDJ66-95 | 垫圈 27 | 5
Washer
52 | Q/NDJ 301-95 | 球面管节 6 | 6
Spherical pipe joint
53 | Q/NDJ302-95 | 螺母 M6 | 6
Connecting nut
54 | Q/NDJ305-95 | 单管接头 6 | 6
Mono siphonium joint
55 | Q/NDJ65-95 | 螺栓 M10 × 1 | 1
Hinged bolt
56 | Q/NDJ63-95 | 管接头体 6 | 1
Pipe joint body
57 | GB3452.1-92 | O型密封圈Φ47.5×3.55 | 6
O-rubber-seal ring
58 | 300-102A-02 | 温包插座 | 7
Temperature socket
59 | 300-102A-50 | 油压温包插座焊接组件 | 1
Pressure & temperature socket assy
60 | G-17B-000 | 起动阀部件 | 1套
|  | Starting valve assy | Set
61 | G-32-000 | 盘车控制阀部件 | 1套 | 随机附件
|  | Barring control valve assy | Set | Engine accessory
62 | G-67A-000A | 调压阀部件 | 1套 | 随机附件
|  | Adjusting pressure valve assy | Set | Engine accessory
63 | G-69-000 | 高压空气滤清器部件 | 1套 | 随机附件
|  | High pressure air filter assy | Set | Engine accessory
64 |  | 增压器备件箱 | 1
Spare parts case for turbocharger
65 | G-23-002 | 垫圈 | 2
Washer
66 | G-23-812 | 接头 | 2
Joint
67 | G-23-813 | 联接螺母 | 2
Connecting nut

## tools and documents
Special tools 专用工具
序号 | 图 号 | 名 称 | 数量 | 备 注
Item | Part Code | Part Name | Qty | Remark
1 | GJG-01-100N | 装拆气门锁夹工具 | 1
Tool for mounting and dismantling
valve collet
2 | GJG-01-210 | 手提研磨进排气阀工具 | 1
Manual lapping tool for intake
and exhaust valve
3 | GJG-01-300N | 拆吊喷油器工具 | 1
Tool for dismantling fuel injector
4 | GJG-01-400 | 吊气缸盖工具 | 1
Lift tool for cylinder head
5 | GJG-01-600 | 气缸盖螺母扳手 | 1
Socket wrench for cylinder head nut
6 | GJG-01-700 | 气缸盖螺栓液压拉伸器 | 4
Hydraulic tension tool for
cylinder head bolt
7 | GJG-02-100 | 贯穿螺栓拉伸器 | 2
Hydraulic tension tool for
pull-rod bolt
8 | GJG-02-200 | 贯穿螺栓螺母扳手 | 1
Socket wrench for pull-rod nut
9 | GB/T 825-88 | 螺钉 M10 | 1
Screw
10 | GNJG-03-100 | 缸套拆装工具 | 1
Stripper for cylinder liner
11 | GNJG-04-100 | 拆主轴承盖工具 | 1
Stripper for main bearing cap
12 | GJG-04-201 | 主轴承螺母套筒 | 1
Socket wrench for main bearing nut
13 | GJG-04-300N | 飞轮端主轴承螺栓扳手 | 1
Socket for main bearing bolt of
the flywheel end
14 | GNJG-05-100 | 装活塞工具 | 1
Tool for mounting piston
15 | GNJG-05-200 | 吊活塞工具 | 1
Lift tool for piston
16 | GJG-06-101A | 连杆螺母套筒 | 1
Socket wrench for connecting-rod nut
17 | GJG-06-102 | 扳棒 | 1
Wrench stick
18 | GJG-07-100N | 拆主轴瓦工具 | 1
Tool for dismantling main bearing metal
19 | GJG-07-200N | 拆主轴瓦工具 | 1
Tool for dismantling main bearing metal
20 | GJG-07-300 | 飞轮螺栓螺母扳手 | 1
Socket wrench for flywheel nut
21 | GB/T 825-88 | 螺钉 M36 | 1 | 吊飞轮用
|  | Screw |  | Lift for flywheel
22 | GJG-07-500 | 拆末端主轴瓦工具 | 1
Dismantling tool for main bearing
metal of rear end
23 | GJG-07-600 | 不吊出活塞拆连杆轴瓦工具 | 1
Tool for dismantling connecting-rod
bearing metal in case of that
piston doesn’t need to be lifted
24 | GJG-07-700 | 曲轴后端齿轮螺母套筒扳手 | 1
Socket wrench for gear nut of
crankshaft rear end
25 | GJG-07-800 | 飞轮螺母辅助扳手 | 1
Assistant wrench for flywheel nut
26 | GJG-07-900 | 桥规工具 | 1 | 已有专用木箱
|  | Bridge gauge |  | Provided with special kit
27 | GJG-12-100 | SD-1型手动高压油泵 | 2
SD-1 manual high pressure pump
28 | GJG-12-300N | 拆装凸轮轴工具 | 2
Tool for mounting and dismantling camshaft
29 | G-60A-000 | 喷油器冷却器部件 | 1 | 3.2m2
Injector cooler assy
30 | GJG-12-500N | 装凸轮液压工具 | 1
Hydraulic tool for mounting cam
31 | GJG-57-100 | 燃油泵顶柱调 整 螺 母 扳 手 | 1
Mooned wrench for adjusting nut
of injection pump tappet
32 | GJG-57-200 | 燃油泵顶柱调整棒 | 1
Adjusting stick for injection pump tappet
33 | GJG-57-300 | 燃油泵顶柱撬棒 | 1
Prize for injection pump tappet
34 | GJG-B58A-000 | 水泵叶轮拆卸器 | 1
Stripper for water pump impeller
35 | G-08N-000 | 手动盘车装置部件 | 1 | 其中G-08-009在在随机附属设备箱内
Manual barring device
36 | G-88A-000 | 喷油器试验工具部件 | 1
Tester for fuel injection pressure
37 | GJG-07-1000 | 曲轴甩档(臂距差)表 | 1
Measuring gauge for crank webs deflection
Spare meters 备用仪表
序号 | 图 号 | 名 称 | 数量 | 备 注
Item | Part Code | Part Name | Qty | Remark
1 | G-39B-032 | 淡水压力表 | 1 | Y-60T(0-0.4MPa)
Fresh water pressure gauge
2 | G-39B-033 | 燃油、气缸盖滑油压力表 | 2 | Y-60T(0-0.6MPa)
Fuel oil pressure gauge & lube oil
pressure gauge for cylinder head
3 | G-39B-034 | 滑油压力表 | 1 | Y-60T(0-1MPa)
Lube oil pressure gauge
4 |  | 气缸盖出水温度计 | 4 | WSS- 75(0-100℃)
Outlet water thermometer for
cylinder head
5 | G-39C-041 | 淡水温度表 | 1 | WTZ-288(0-100℃)
Fresh water thermometer
6 | G-39B-032 | 压力表 | 1 | Y-60T(0-0.4MPa)
|  | Pressure gauge |  | 用于喷油器冷却液
For injector cooling oil
Documents 随机文件
序号 | 名 称 |  | 数量 | 备注
Item | Document Name |  | Qty | Remark
1 | 产品证明书 |  | 1
Product certificate
2 | G300型柴油机零件图册 |  | 1
Part list with drawings for Model GN320
diesel engine
3 | 调速器使用说明书 |  | 1
Operating manual for governor
4 | 增压器使用说明书 |  | 1 | 在增压器备件箱内
| Operating manual for turbocharger |  |  | In spareparts kit for
turbocharger
5 | 温度巡测仪说明书 |  | 1
Operating manual for temperature control detector
6 | 燃油滤清器说明书 |  | 1 | 在随机附属设备箱内
| Operating manual for fuel filter |  |  | In engine attached
device case
7 | 滑油滤清器说明书 |  | 1 | 在随机附属设备箱内
| Operating manual for lube oil filter |  |  | In engine attached device case
8 | 增压空冷器说明书 |  | 1 | 在随机附属设备箱内
| Charge air cooler operation maintenance manual |  |  | In engine attached device case
9 | G300系列柴油机燃用重油使用手册 |  | 1 | 燃重油柴油机用
| Operation manual with heavy fuel oil for series GN320 and 300 diesel engine. |  |  | With heavy fuel oil diesel engine