## Sheet1
gas engine generator set stock list
Brand name | Capacity | Model | Voltage/HZ | Alternator Brand | Generating Efficiency | Fuel | methane Content | Year of Make | Running Hours | Main Control Panel(AGS) | Intercooled water cooler | Cylinder liner water cooler | Delviery | invocie | if genset in operation | Packing method | item no | date | remark
Caterpillar
CAT gas engine genset | 1900KW | G3520C | 6.3KV/50HZ | AVK | 40.1% | Natural Gas | ≥80 | 2004 | 10100H | With AGS | yes | yes | 30 days | yes | lake of Fuel | naked engine in stockhouse | 101 | 20230606 | naked onsite borescope inspcection done
CAT gas engine genset | 1900KW | G3520C | 6.3KV/50HZ | AVK | 40.1% | Natural Gas | ≥80 | 2004 | 10110H | rusted | yes | yes | 30 days | yes | lake of Fuel | naked engine in stockhouse
CAT gas engine genset | 1900KW | G3520C | 6.3KV/50HZ | AVK | 40.1% | Natural Gas | ≥80 | 2004 | 10800H | With AGS | yes | yes | 30 days | yes | lake of Fuel | naked engine in stockhouse
CAT gas engine genset | 2500KW | G3520H | 11KV/50HZ | AVK | 41.5% | Natural Gas | ≥80 | 2016 | 15820H | With AGS | yes | yes | 60 days | yes | running on site | naked engine in stockhouse | 102 | 20230606 | with 2400KW Yuanda lithium bromide, the genset can realize combined cooling, heating and power tri-generation
CAT gas engine genset | 2500KW | G3520H | 11KV/50HZ | AVK | 41.5% | Natural Gas | ≥80 | 2016 | 15612H | With AGS | yes | yes | 60 days | yes | running on site | naked engine in stockhouse
CAT Bio gas engine | 1000KW | G3516 | 10.5KV/50HZ | AVK | 36.8% | Biogas | ≥50 | 2016 | 23560H | With AGS | yes | yes | 60 days | yes | running off load | 撬装成套 | 103 | 20230606 | The landfill biogas machine includes the desulfurization and deacidification equipment at the inlet end, and the complete set of equipment can be packaged and transported as whole
CAT Bio gas engine | 1000KW | G3516 | 10.5KV/50HZ | AVK | 36.8% | Biogas | ≥50 | 2016 | 9973H | With AGS | yes | yes | 60 days | yes | running off load | 撬装成套
Jenbacher
Jenbacher | 1067kw | JMS320GS-N.L | 400V/50HZ | Stamford |  | Natural Gas | ≥80 | 2017 | 50-200H | With AGS | yes | yes | 60 days | yes | running off load | naked engine in stockhouse | 201 | 20230606 | stock house at SJZ
Jenbacher | 1067kw | JMS320GS-N.L | 400V/50HZ | Stamford |  | Natural Gas | ≥80 | 2017 | 50-200H | With AGS | yes | yes | 60 days | yes | running off load | naked engine in stockhouse
Jenbacher | 4494KW | JMS624-H311 | 10.5KV/50HZ | AVK |  | Natural Gas | ≥80 | 2017 |  | With AGS | yes | yes | 60 days | yes |  | naked engine in stockhouse | 202 | 20230607
Jenbacher | 4494KW | JMS624-H311 | 10.5KV/50HZ | AVK |  | Natural Gas | ≥80 | 2017 |  | With AGS | yes | yes | 60 days | yes |  | naked engine in stockhouse
Jenbacher | 2058KW | J612GS-J101 | 10.5KV/50HZ | AVK |  | Natural Gas | ≥80 | 2017 |  | With AGS | yes | yes | 30 days | yes |  |  | 203 | 20230609 | stock house at GDZQ
Jenbacher | 1222KW | J416GS-B306 | 10.5KV/50HZ | AVK |  | Natural Gas | ≥80 | 2015 |  | With AGS | yes | yes | 30 days | yes |  |  | 204 | 20230922
Jenbacher | 2807KW | J620GS-E25 | 10.5KV/50HZ | AVK |  | Natural Gas |  |  |  | With AGS | yes | yes | 现货 | 无 |  | naked onsite | 205 | 20231021
Jenbacher | 2807KW | J620GS-E25 | 10.5KV/50HZ | AVK |  | Natural Gas |  |  |  | With AGS | yes | yes | 现货 |  |  | naked onsite | 205 | 20231021
Jenbacher | 2807KW | J620GS-E25 | 10.5KV/50HZ | AVK |  | Natural Gas |  |  |  | With AGS | yes | yes | 现货 |  |  | naked onsite | 205 | 20231021
Jenbacher | 2807KW | J620GS-E25 | 10.5KV/50HZ | AVK |  | Natural Gas |  |  |  | With AGS | yes | yes | 现货 |  |  | naked onsite | 205 | 20231021
MWM
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0-200H | With AGS | yes | yes |  | yes | shut down on site | naked engine in stockhouse | 301 | 20230606 | stock house at SDQD
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | [9 empty] | 302
MWM | 2000KW | TCG2020V20 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | [5 empty] | yes |  |  | 303 | 20230609 | stock house at SDQD
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0 | With AGS |  |  |  | yes |  | naked genset | 304 | 20230612 | to be sold
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0 | With AGS |  |  |  | yes |  | naked genset | 304 | 20230612
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0 | With AGS |  |  |  | yes |  | naked genset | 304 | 20230612
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0 | With AGS |  |  |  | yes |  | naked genset | 304 | 20230612
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0 | With AGS |  |  |  | yes |  | naked genset | 304 | 20230612
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0 | With AGS |  |  |  | yes |  | naked genset | 304 | 20230612
MWM | 4300kw | TCG2032V16 | 10.5KV/50HZ | AVK | 41.9% | Natural Gas | ≥80 | 2015 | 0 | With AGS |  |  |  | yes |  | naked genset | 304 | 20230612
MWM | 4000KW | 1280032 | 10.5KV/50HZ | AVK |  | mine gas |  | 2014 |  | AGS 有 | [6 empty] | 305 | 20231020
MWM | 4000KW | 1280032 | 10.5KV/50HZ | AVK |  | mine gas |  | 2014 |  | AGS 有 | [6 empty] | 305 | 20231020
Cummins
Cummins | 1500KW | QSK60-G8 | 10.5KV/50HZ | no |  | Natural Gas | ≥80 | 2012 | 0 | / |  |  |  | yes | / | engine assembly | 401 | 20230607 | stock house: GZPY
Cummins | 1500KW | QSK60-G8 | 10.5KV/50HZ | no |  | Natural Gas | ≥80 | 2012 | 0 | / |  |  |  | yes | / | engine assembly
Cummins | 1500KW | QSK60-G8 | 10.5KV/50HZ | no |  | Natural Gas | ≥80 | 2012 | 0 | / |  |  |  | yes | / | engine assembly
Cummins | 1500KW | QSK60-G8 | 10.5KV/50HZ | no |  | Natural Gas | ≥80 | 2012 | 0 | / |  |  |  | yes | / | engine assembly
Cummins | 1500KW | QSK60-G8 | 10.5KV/50HZ | no |  | Natural Gas | ≥80 | 2012 | 0 | / |  |  |  | yes | / | engine assembly
Cummins | 1500KW | QSK60-G8 | 10.5KV/50HZ | no |  | Natural Gas | ≥80 | 2012 | 0 | / |  |  |  | yes | / | engine assembly
Cummins | 1500KW | QSK60-G8 | 10.5KV/50HZ | no |  | Natural Gas | ≥80 | 2012 | 0 | / |  |  |  | yes | / | engine assembly