## sheet1
To:
QUOTATION OF DIESEL GENERATOR SET
Date: November 29th, 2023 | [10 empty] | Valid: 30 days
Model | 230/400V 50Hz 3P |  |  |  | Diesel Engine |  |  | A.C.Alternator | Controller | Open Type | Silent Type | ATS | Remote Monitoring System | Parallel System | Heater |  |  | Qty | TOTAL Amount
| Standby output |  | Prime Output |  | Model / Output | Fuel Tank Internal | Brand | JET POWER | DEEPSEA | Diesel Genset | Diesel Genset | Internal type |  |  | Water Heater | Oil Heater | Fuel Heater
| KVA | KW | KVA | KW | [5 empty] | EXW Price | EXW Price | USD | USD | USD | USD | USD | USD | Sets | USD
P-150 | 150 | 120 | 135 | 108 | 1106A-70TG1/119KW | 8 hours | PERKINS | JET274E/112KW | DSE6120 | 14457.96 | 15753.96 | / | / | / | / | / | / | / | /
P-165 | 165 | 132 | 150 | 120 | 1106A-70TAG2/136KW | 8 hours | PERKINS | JET274F/128KW | DSE6120 | 15946.2 | 17242.2 | / | / | / | / | / | / | / | /
P-200 | 200 | 160 | 180 | 144 | 1106A-70TAG3/163.9KW | 8 hours | PERKINS | JET274G/144KW | DSE6120 | 16929 | 18711 | / | / | / | / | / | / | / | /
P-275 | 275 | 220 | 250 | 200 | 1206A-E70TTAG3/217/238KW | 8 hours | PERKINS | JET274K/200KW | DSE6120 | 24722.28 | 27368.28 | / | / | / | / | / | / | / | /
P-550 | 550 | 440 | 500 | 400 | 2506C-E15TAG2/435/478KW(ECM） | 8 hours | PERKINS | JET544D/400kW | DSE6120 | 49291.2 | 54151.2 | / | / | / | / | / | / | / | /
P-750 | 750 | 600 | 650 | 520 | 2806A-E18TAG2/565/609KW(ECM） | 8 hours | PERKINS | JET544F/536kW | DSE6120 | 62964 | 68148 | / | / | / | / | / | / | / | /
P-1100 | 1100 | 880 | 1000 | 800 | 4008TAG2A/861/947KW(electric） | 8 hours | PERKINS | JET634E/800kW | DSE6120 | 91557 | 98361 | / | / | / | / | / | / | / | /
The Genset specification as follows
Payment terms:50% T/T on deposit, 50% T/T paid before shipment.
Delivery time: Within 30 days after receive the deposit.
Packaging details: Plywood / Wodden Case / Export Standard Packing ,according to the buyer.
Warranty validity:12 month or 1000 hour working time
Certificate:ISO9001 ISO14001 and CE standard
1- Brand new water cooled diesel engine
2- Brand new Top quality brushless AC atlernator,230/400V, 3-Phase, 50Hz, 1500Rpm, 0.8PF, IP23, H insulation class
3- Genset equipped with radiator with engine driven fan mounted on skid. Engine with specially brand air filter, Oil filter, Fuel filter system
4- Engine,Alternator and other part, it is install on brand new top quality steel frame, with whole protection, prevent rust, prevent deformation, long service life.
5- Genset Control System: Digital Automatic control system of diesel generator include, High speed protect, High water temperature protect,
low oil pressure protect, 3 phase Voltage,current and frequency,calculagraph,output power, LED display with AMF functions
6- Genset equipped with MCCB with CE,IEC,TUV and UL standard
7- Advanced Anti-vibration pad with stainless steel body and top class rubber
8- 12/24V DC Electric start system with maintenance free battery and Battery connect wire
9- Equipped with industrial class silencers with flexible connects and elbow. can reduce noise more than 10-15 db.
10- Genset with fuel tank at least 8 hours running, Tank with Fuel meter and fuel filling port on the base frame of genset
11- Genset with Engine manual,Alternator manual, Genset operation manual, Controller manual and standard engine tools kit
12- Othe optional function: ATS System, Parallel Operation System, Remote Control System, Remote Monitoring System