## 定置表
Quotation Proposal 1
Sys. | Item | name | model | qty for one unit DG set | 12 DG sets as one Grouo | 5 Group | Unit | Price in (USD) |  | Remark
[8 empty] | Unit prcie | Total
1.Genset and control
DG Set | 1.1 | Engine | MTU 16V4000G23 | 1 | 12 | 60 | unit | 453500 | 27210000
| 1.2 | Water | 50℃ | 1 | 12 | 60 | set
| 1.3 | alternator | LSA 51.2 L70 | 1 | 12 | 60 | unit
| 1.4 | controller | AGC-3 | 1 | 12 | 60 | unit
| 1.5 | Breaker | 3200A | 1 | 12 | 60 | unit
| 1.6 | common base | For ZBF1830S | 1 | 12 | 60 | set
| 1.7 | Spare parts with DG | For ZBF1831S | 1 | 12 | 60 | set
| 1.8 | installation parts | For ZBF1832S | 1 | 12 | 60 | set
| 1.9 | oil/water seperator | For ZBF1833S | 2 | 24 | 120 | set
| 1.10 | maintenance free battery | 12V150AH | 8 | 96 | 480 | unit
| 1.11 | manual oil pump | For ZBF1831S | 1 | 12 | 60 | unit
| 1.12 | water preheater | 4kw | 2 | 24 | 120 | unit
| 1.13 | duel fuel system | For 16V4000G23 | 1 | 12 | 60 | unit
Tank | 2.1 | rain proof tank | For ZBF1831S | 1 | 12 | 60 | unit | 13720 | 823200 | 40 ft high container
| 2.2 | daily oil tank | 500L oil level alarm | 1 | 12 | 60 | unit | 1210 | 72600
| 2.3 | step up transformer | 2500KVA | 1 | 12 | 60 | unit | 25800 | 1548000
| 2.4 | exhaust pipe | DN250 | 4 | 48 | 240 | meter | 62 | 14880
| 2.5 | heavy duty filter | For 16V4000G23 | 4 | 48 | 240 | unit | 550 | 132000
| 2.6 | internal cable | 1*120 | 240 | 2880 | 14400 | meter | 18 | 259200
| 2.7 | internal cable | 19*1.5，4*4 | 15 | 180 | 900 | meter | 8 | 7200
| 2.8 | battery cable | 1*70 | 20 | 240 | 1200 | meter | 12 | 14400
| 2.9 | explosive proof lamp |  | 4 | 48 | 240 | unit | 4 | 960
| 2.10 | fan fon transformer's radiator |  | 1 | 12 | 60 | set | 920 | 55200
Main control | 3.1 | main control panel box | 20 ft container | / | / | 1 | unit | 6400 | 6400
| 3.2 | group control panel | main body of container panel | / | 1 | 5 | unit | 5500 | 27500
| 3.3 | Groups container panel |  | / | / | 1 | unit | 10000 | 10000
sub total | [8 empty] | 30181540
2.Export cost
cost for Exports | 1.1 | packing |  |  |  | 1 | times | 57000 | 57000
| 1.2 | smogging
| 1.3 | China inland transportation and insurance
| 1.4 | sea transportation and insurance |  |  |  | 1 | times | 270000 | 270000
sub total | [8 empty] | 327000
3.tools, spare parts and parts for maintenance
Tool | 1.1 | tool | 60T | 1 | 12 | 60 | set | 50 | 3000
spare parts and parts for maintenance | 2.1 | heavy duty filter core | For 16V4000G23 | 4 | 48 | 240 | unit | 60 | 14400
| 2.2 | lube filter | For 16V4000G23 | 20 | 240 | 1200 | unit | 60 | 72000
| 2.3 | Diesel filter | For 16V4000G23 | 8 | 96 | 480 | unit | 115 | 55200
| 2.4 | fan belt | For 16V4000G23 | 2 | 24 | 120 | set | 466 | 55920
| 2.5 | belt for battery recharger | For 16V4000G23 | 2 | 24 | 120 | set | 100 | 12000
| 2.6 | filter for oiul/water seperator | For ZBF1831S | 8 | 96 | 480 | unit | 12 | 5760
| 2.7 | alternator AVR | R449 | / | / | 2 | unit | 1480 | 2960
| 2.8 | cable | 12v150AH | / | / | 16 | unit | 150 | 2400
| 2.9 | recharger | For ZBF1831S | / | / | 5 | unit | 22 | 110
| 2.10 | controller | AGC-3 | / | / | 2 | unit | 2750 | 5500
| 2.11 | breaker | 3200A | / | / | 1 | unit | 6100 | 6100
| 2.12 | water preheater | 4kw | / | / | 4 | unit | 205 | 820
| 2.13 | consumable | For ZBF1831S | / | / | 1 | set | 1050 | 1050
sub total | [8 empty] | 237220