## Technical Part
Request for Information about Power Plant Project (Technical Part)
This form will be used to create the basic data for new power plant. so, please fill out the green blank by write directly or select the Number. | [9 empty] | 2013.03.29
1. | CLIENT
| 1) | Name of client
| 2) | Name of project
| 3) | Country
| 4) | Contact person
| 5) | Tel
| 6) | Mobile
| 7) | Email
| 8) | Purpose of plant | 1.To connect to utility 2.For factory load 3.Others to be specified
Specify the location for above No.3
| 9) | Power plant construction | 1. New 2. Extension
2. | SITE LOCATION
| 1) | Country & city
| 2) | Nearest port for discharging
| 3) | Nearest airport
3. | SYSTEM
| 1) | Total capacity of power plant |  | kW
| 2) | Number of Gensets |  | set
| 3) | Alternator voltage |  | kV
| 4) | Grid voltage |  | kV
| 5) | Auxiliary power voltage | AC (3PH) |  | V
|  |  | AC (1PH) |  | V
| 6) | Engine power factor | 1. 0.8 2. 0.85 3. 0.9 4. others ( ) |  |  | Lagging
| 7) | Frequency | 1. 50Hz 2. 60Hz
| 8) | Engine speed | 1. 750rpm 2.720rpm 3.900rpm 4.1000rpm 5. others | 2.72
| 9) | Aux. power supply | 1. From this power plant 2. From national grid
| 10) | Typical mode of generation | 1. Continuous 2. Base load 3. Standby 4. Emergency 5. Peaking 6. Others ( )
| 11) | Non-linear Thyristor loads (if any) ?
Other non-standard loads (if any )?
4. | SITE CONDITION | [7 empty] | REMARK
| 1) | Ambient temperature | Max. |  | ℃
|  |  | Min. |  | ℃
|  |  | Max. mean ambient temperature |  |  | ℃
|  |  | Min. mean ambient temperature |  |  | ℃
|  |  | Design |  | ℃
|  |  | Wet bulb temperature |  |  | ℃
|  |  | Dry bulb temperature |  |  | ℃
| 2) | Altitude |  |  | m
| 3) | Barometric pressure |  |  | mmBar
| 4) | Relative humidity |  |  | %
| 5) | Max. wind speed (km/h)
| 6) | Dust content (dusty/clean)
| 7) | Presence of any hazardous or chemically active gases in surrounding air
| 8) | Soil condition at site (normal, marshy, black cotton etc.)
| 9) | Soil bearing capacity (< 15 tons/m2 or > 15 tons/m2)
| 10) | Water table at site
5. | OPERATION
| 1) | Operation time |  | hr/day |  |  |  | day/year
| 2) | Operation mode | 1. Solo operation 2. Parallel operation with Grid.
3. Parallel operation with other Gen-sets, specify details of existing DG/TG sets
i) Supplier/model/name plate details
ii) Rating(kVA/kW)
iii) Maker/model/type of governor
iv) Type of excitation/AVR
v) Synchronization facility
6. | TYPE OF FUEL |  | 1. Crude oil 2. HFO 3. DO 4. gas
7. | SPECIFICATION OF FUEL
|  |  |  | HFO |  |  | DO |  | REMARK
| 1) | Density |  | kg/m3 |  |  | kg/m3
| 2) | Viscosity |  | cSt/50℃ |  |  | cSt/50℃
| 3) | Flash point |  | ℃ |  |  | ℃
| 4) | Pour residue |  | ℃ |  |  | ℃
| 5) | Carbon residue |  | % (Mass) |  |  | % (Mass)
| 6) | Ash |  | % (Mass) |  |  | % (Mass)
| 7) | Total sediment after aging |  | % (Mass) |  |  | % (Mass)
| 8) | Water |  | % (Volume) |  |  | % (Volume)
| 9) | Sulfur |  | % (Mass) |  |  | % (Mass)
| 10) | Vanadium |  | mg/kg |  |  | mg/kg
| 11) | Aluminum + Silicon |  | mg/kg |  |  | mg/kg
| 12) | Low Calorific Value (LCV) |  | kJ/kg |  |  | kJ/kg
GAS
| 1) | Gas supply pressure |  | bar.g
| 2) | Gas supply temperature |  | ℃
| 3) | Density |  | kg/Nm3
| 4) | LCV |  | Kcal/Nm3
| 5) | Methane
| 6) | Gas contents
|  | Contents | % (Volume) | % (Mass) | Contents |  | % (Volume) | % (Mass)
|  | N2(Nitrogen) |  |  | C2H6(Ethane)
|  | CO2(Carbon dioxide) |  |  | C3H6(Propylene)
|  | O2(Oxygen) |  |  | C3H8(Propane)
|  | H2S(Hydrogen sulfide ) |  |  | C4H10(Butane)
|  | CO(Carbon monoxide ) |  |  | C5H12(Pentane)
|  | H2(Hydrogen ) |  |  | C6H14(Hexane)
|  | CH4(Methane) |  |  | S(Sulfur)
|  | C2H4(Ethylene) |  |  | NH3(Ammonia)
8. | TANK FARM
| 1) | HFO storage capacity |  | day (operating days)
| 2) | LFO storage capacity |  | day (operating days)
9. | COOLING SYSTEM
| 1) | Type | 1. Radiator 2. cooling Tower 3. central cooler
| 2) | Cooling water source | 1. City water 2. borewell water 3. sea water 4. river water
10. | LOCAL ENVIRONMENTAL REQUIREMENT
| 1) | Emission | [6 empty] | REMARK
|  | Nox |  | mg/Nm3 / ppm at 15% O2 Dry (select one unit only)
|  | Sox |  | mg/Nm3 / ppm at 15% O2 Dry (select one unit only)
|  | CO |  | mg/Nm3 / ppm at 15% O2 Dry (select one unit only)
|  | HC |  | mg/Nm3 / ppm at 15% O2 Dry (select one unit only)
|  | PM |  | mg/Nm3 / ppm at 15% O2 Dry (select one unit only)
| 2) | Discharge water quality |  | ppm (oil contents)
| 3) | Noise |  | dB(A) & required measuring location
11. | SCOPE OF WORK
| 1) | 1. Turn-key 2. Equipment supply(If you select this number, please select items as below)
| 2) | 1. Mechanical 2. Electrical 3. Instrumentation 4. Civil works 5. Power house 6. Tank farm
7. WTS 8. OWS 9. HVAC
Note : WTS - Water Treatment System, OWS - Oily Water System, HVAC - Heating, Ventilation & Air Conditioner
| 3) | Erection
1. Included 2. not included
| 4) | Supervision
1. Erection 2. site test & commissioning 3. civil & power house
| 5) | Engineering
1. Engineering for EPC's supply only 2. plant detail engineering (total)
12. | MECHANICAL SYSTEM APPLICATION
| 1) | Steam supply
1. Exhaust gas boiler 2. oil fired boiler 3. steam supply by client ( kg/hr, bar, ℃)
| 2) | Hot water supply (please inform us your Heat Recovery System)
1. Exhaust gas boiler 2. oil fired boiler 3. steam supply by client ( kg/hr, bar, ℃)
|  | Feed water flow rate |  | m3/hr
|  | Boiler inlet temperature |  | ℃
|  | Boiler outlet temperature |  | ℃
13. | ELECTRICAL SYSTEM APPLICATION
| 1) | Step-up transformer | 1. Unit TR 2. Common TR 3. Not required
| 2) | Auxiliary transformer | 1. Supply by EPC 2. Supply by others
| 3) | Switchgear Type | 1. VCB 2. GCB
| 4) | Outgoing feeder circuit breaker panel
1. Supply by EPC (required feeder No(s) : No(s) 2. Supply by others
| 5) | Common synchro panel | 1. Supply by EPC 2. Supply by others
| 6) | Auxiliary transformer feeder circuit breaker panel
1. Supply by EPC (required feeder No(s) : No(s) 2. Supply by others
| 7) | Generator circuit breaker panel | 1. Supply by EPC 2. Supply by others
| 8) | LV incoming ACB panel 低压进线空气断路器面板 | 1. Supply by EPC 2. Supply by others
| 9) | Motor control center 电机控制中心 | 1. Supply by EPC 2. Supply by others
| 10) | LV power distribution panel (lighting panel, small power dist. panel, etc.)
1. Supply by EPC 2. Supply by others
| 11) | DC system (battery & charger) | 1. Supply by EPC 2. Supply by others
| 12) | (UPS) | 1. Supply by EPC 2. Supply by others
| 13) | Black start DG set | 1. Supply by EPC 2. Supply by others
14. | INSTRUMENTATION & CONTROL SYSTEM APPLICATION
| 1) | Plant control & monitoring system
1. Supply by EPC 2. Supply by others
| 2) | ENGINE & GENERATOR control panel | 1. Supply by EPC 2. Supply by others
15. | OTHERS

## Commercial Part
Request for Information about Investment and Operation of Power Plant (Commercial)
This form will be used to create the basic data for new power plant. so, please fill out the green blank by write directly. 2013.3.29
Part 1 Project Information
A. Basic project information
1 | Project site：
2 | About PPA agreement
a) | Electric charge： |  |  |  | dollar/Kwh
b) | Have signed PPA or not： | 口Yes | 口No
c) | Period of electricity |  | year
d) | Guarantee or subsidy of minimum electricity
e) | Fuel： | 口HFO | 口DIESEL | 口GAS | 口Other
|  | Price : |  |  | dollar/liter
f) | Fuel guarantee condition：
3 | The government has approved land： | 口Yes | 口No
The approving method?
4 | Type of owner： | 口Government | 口Private | 口Others
Owner name
Owner introduction：
5 | Purpose of power requirement for：
| 口Existing plant | 口Expansion project |  | 口New project | or Others
6 | Basic parameter：
a.Capacity of power plant ：
b.Voltage：
c. Frequency：
7 | Contact Person at Site?Address / Telephone / Fax #
8 | Local emission requirements :
9 | Other information
B. Operating method and progress of project：
1 | Operating method：口BOT，口BOO，Others：______
2 | How to select EPC contractor?
3 | Regarding the project implementation schedule, please offer the detailed schedule and tell the current project stage.
4 | What type of set you need： | 口Brand new | 口used
Why need Chinese equipments and EPC services?
5 | What is your role for this project? Developer/owner/sponsor/investor/EPC/contractor/agent/consultant?
6 | Competitor and brand?
7 | Other information:
C | Finance：
1 | Mode of Financing the Project?
2 | What is your expected investment amount? Is the fund for the project ready? If yes, where from?
3 | Is it necessary to be financed? What’s the means and proportion of planned finance?
4 | Other information
Part 2 Project Initiator Company’s Information
1 | Company name
Registered capital
Legal representative
2 | Industry category and main products
3 | Annual sales
4 | Contact person\Position\Tel.
5 | The implementation opinions about project