## Sheet1
Full Description | P/N | BRAND NAME/OEM
Half size PCISA SBC VIA Boser | HS-6252 | Boser
RECEPTACLE,ELEC 60A APPLETON ELECTRIC COMPANY | JBR6034-150 | APPLETON
Injector | 326-4756 | CAT
Seal for 326-4756 | 294-1803 | CAT
Washer for 326-4756 | 1R-6573 | CAT
XFMR SAF ISOL-15% 216-251VAC+10%IEC/UL 430-0048A | 430-0048A | GUTOR
CE 6800MF 350VDC STUD 202-3682 | 202-3682 | GUTOR
CAP MTL PPR 400V 5% 3UF RD 234-0335 | 234-0335 | GUTOR
SUB ASSEMBLY FAN 230VAC FOR ROOF XXW 0M-94028 | 0M-94028 | GUTOR
CS 110MF 250VAC/HPFNT B.TAP UL 234-0117 | 234-0117 | GUTOR
COOLER | 6.232.0.750.011.7 | MWM
SOLENOID VALVE 635A07701/1 | 5901700016 | MTU
BALL-MA06 SP ID Code: 943140 Part nr.: -- Material: A351 gr. CF8M/1.4408 | 943140 | Metso
KEY-1/4X45 h9 S186 ID Code: 3098 Part nr.: -- Material: EN 10088-1.4460 | 3098 | Metso
DISC-8 815W/L MOD C ID Code: 096 0312 36 Part nr.: -- Material: ASTM A351 gr. CF8M | 096 0312 36 | Metso
RETAINING RING-0.764 IN ID X 0.116 IN WIRE DIA ID Code: 067 0187 2A Part nr.: -- Material: INCONEL X-750 | 067 0187 2A | Metso
SHAFT-MA01 ID Code: 1013281 Part nr.: -- Material: ASTM A479 gr. XM-19-H | 1013281 | Metso
CYLINDER PIPE-BJS 20 ID Code: 745400 Part nr.: -- Material: EN 10025-S355JO | 745400 | Metso
CYLINDER PIPE-BJS 16 ID Code: 785180 Part nr.: -- Material: EN 10025-S355JO | 785180 | Metso
CYLINDER PIPE-BJS 8 ID Code: 7014200 Part nr.: -- Material: EN 10025-S355JO | 7014200 | Metso
KEY-3/16X30 h9 S186 ID Code: 3096 Part nr.: -- Material: EN 10088-1.4460 | 3096 | Metso
PIN-6X32,5 ID Code: 648052 Part nr.: -- Material: ASTM A564 gr. 630 H1150M | 648052 | Metso
BEARING-20/22X20 ID Code: 977001 Part nr.: -- Material: UNS S21800 | 977001 | Metso
CYLINDER PIPE-BJS 12 ID Code: 684280 Part nr.: -- Material: EN 10025-S355JO | 684280 | Metso
CYLINDER PIPE SET BJ 8 (M10) EN753-6063(AlMg0,7Si) T5 ID Code: H083760 | H083760 | Metso
KEY-11/4X180 h9 S186 ID Code: 3163 Part nr.: -- Material: UNS S31803 | 3163 | Metso
CYLINDER PIPE-BC 40 ID Code: 1035860 Part nr.: -- Material: G-AlSi10Mg ANODIZED | 1035860 | Metso
KEY-3/8X50 h9 S186 ID Code: 3099 Part nr.: -- Material: EN 10088-1.4460 | 3099 | Metso
DISC-L1CMA12 ID Code: 647330 Part nr.: -- Material: ASTM A182 gr. F316 | 647330 | Metso
PIN-10X55 ID Code: 648082 Part nr.: -- Material: ASTM A564 gr. 630 H1150M | 648082 | Metso
BEARING STRIP-36/46X145 ID Code: H005171 Part nr.: -- Material: PTFE+C25+AISI 316(PAMPUS) | H005171 | Metso
DRIVE SHAFT-35X405 LW6LBA300 ID Code: H017202 Part nr.: -- Material: ASTM A564 gr. 630 H1150M | H017202 | Metso
KEY-1/2X80 h9 S186 ID Code: 3101 Part nr.: -- Material: EN 10088-1.4460 | 3101 | Metso
SHAFT-55X269 ID Code: 50414240 Part nr.: -- Material: ASTM A564 gr. 630+HCr | 50414240 | Metso
CYLINDER PIPE SET BJ 20 (M16) EN753-6063(AlMg0,7Si) T5 ID Code: H083764 | H083764 | Metso
DISC-L1DMA14 ID Code: 647350 Part nr.: -- Material: ASTM A351 gr. CF8M | 647350 | Metso
PIN-L1C18-20 15X80 ID Code: 7200101 Part nr.: -- Material: ASTM A564 gr. 630 H1150M | 7200101 | Metso
DISC SPRING-72,8/59,2X1 ID Code: 938462 Part nr.: -- Material: UNS N08825 | 938462 | Metso
CYLINDER PIPE SET BJ 10 (M12) EN753-6063(AlMg0,7Si) T5 ID Code: H083761 | H083761 | Metso
SHAFT-MG08 CRYO ID Code: H000357 Part nr.: -- Material: ASTM A479 gr. XM-19 | H000357 | Metso
CPU | 140CPU67160 | SCHNEIDER ELECTRIC
Acc. Circuit Breaker 3WL Shunt Release | 3WL9111-0AD05-0AA0 | SIEMENS
Acc. Circuit Breaker 3WL | 3WL9111-0AH01-0AA0 | SIEMENS
ACC. CIRCUIT BREAKER 3WL ACCESSORIES CIRCUIT BREAKER 3WL SIGNAL SWITCH FOR SPRING STORAGE STATE | 3WL9111-0AH08-0AA0 | SIEMENS
ACC. CIRCUIT BREAKER 3WL AUX. SWITCH ACCESSORIES CIRCUIT BREAKER 3WL AUX.SWITCH BLOCK 2NO+0 NC | 3WL9111-0AG02-0AA0 | SIEMENS
ACC. CIRCUIT BREAKER 3WL AUX. SWITCH ACCESSORIES CIRCUIT BREAKER 3WL AUX.SWITCH BLOCK 2NO +2NC | 3WL9111-0AG01-0AA0 | SIEMENS
ACC. CIRCUIT BREAKER 3WL ACCESSORIES CIRCUIT BREAKER 3WL 1ST TRIP SIGNALLING SWITCH 1CO; S24 | 3WL9111-0AH14-0AA0 | SIEMENS
ACC. CIRCUIT BREAKER 3WL ACCESSORIES CIRCUIT BREAKER 3WL POSITION SIGNAL SWITCH F. GUIDE FRAME, 2ND BLOCK 6 MICRO-SWITCHES | 3WL9111-0AH12-0AA0 | SIEMENS
ACC. CIRCUIT BREAKER 3WL MOT.OP.MECH. A ACCESSORIES CIRCUIT BREAKER 3WL MOTOR DRIVE AC 50/60HZ 208-240V/DC 220-250 | 3WL9111-0AF04-0AA0 | SIEMENS
24RC,LOGIC MODULE,DISPLAY PU/I/O: 24V UC/24V UC/RELAY, 8 DI/4 DO; MEM. 200 BLOCKS, EXPANDABLE WITH EXTRA MODULES 24V AC/DC | 6ED1052-1HB00-0BA6 | SIEMENS
DM16 24R, EXP. MODULE, PU/I/O: 24V DC/24V DC/RELAY, 8 DI/8 DO, 4TE | 6ED1055-1NB10-0BA0 | SIEMENS
ACTUATOR SAFETY LOCK, FLAT 22MM ROUND METAL ACTUATOR: RONIS LOCK WITH 2 KEYS MAINTAINED CONTACT 2 SWITCH POSITIONS O-I LOCK NUMBER SB 30, REMOVE O+I WITH HOLDER POSSIBLE SPECIAL LOCKS FOR RONIS KEYSWITCHES: SB31, 455, 421 | 3SB3500-4AD11 | SIEMENS
ACTUATOR WITH TWO CONTACTS, ACTUATOR-/INDICATOR COMPONENT CONTACT BLOCK WITH 2 CONTACTS SCREW TERMINAL, 1NO+1NC | 3SB3400-0A | SIEMENS
ACCESSORIES FOR 3SB3 ACCESSORY / SPARE PART FOR PLASTIC-/METAL PROGRAM ROUND, 22MM/SQUARE, 26X26MM: HOLDER FOR SELECTOR SWITCH,KEY- OPER.SWITCH A.TWIN PUSHBUT.FOR SNAPPING ON 3 BLOCKS FOR ACTUATING THE CENTRAL CONTACT BLOCKS | 3SB3901-0AC | SIEMENS
COMPLETE UNIT, ROUND 22MM METAL ROUND COMPLETE UNIT COMBINATION: PUSHBUTTON MOMENTARY CONTACT TYPE WITH FLAT BUTTON SCREW TERMINAL, 1NC WITH HOLDER RED | 3SB3603-0AA21 | SIEMENS
COMPLETE UNIT , ROUND 22MM METAL ROUND COMPLETE UNIT COMBINATION: PUSHBUTTON MOMENTARY CONTACT TYPE WITH FLAT BUTTON SCREW TERMINAL, 1NO WITH HOLDER GREEN | 3SB3602-0AA41 | SIEMENS
COMPLETE UNIT ROUND INDICATOR LIGHT, 22MM, ROUND, METAL, YELLOW, LENS, CONCENTRIC RINGS, WITH HOLDER, LAMPHOLDER, WITH INTEGRATED LED AC/DC 24V, SCREW CONNECTION | 3SB3644-6BA30 | SIEMENS
Rosemount™ 3051 Coplanar™ Pressure Transmitter | 3051CD2A02A1AS5E5/0305RC32A11 | FISHER/Rosemount
VALVE,SOLN,#8691700027 VALVE,SOLENOID: ORIFICE DIAMETER: 1/4 IN; ELECTRICAL RATING: 24 VDC 700 MA IN RUSH, 700 MA HOLDING; CONFIGURATION: 1-WAY; CONNECTION: BASE MOUNTED; OPERATION: NO; PRESSURE RATING: 32 BAR; COIL: MOLDED; ENCLOSURE: GENERAL PURPOSE; BODY MATERIAL: BRS; ADDITIONAL DATA: SYSTEM PARENT EQUIPMENT INFORMATION: FOR MTU DIESEL ENGINE MODEL # 12V 2000, ENGINE # 535 105 938, 24 VDC POWER SUPP LY, 0.6 KG, FOR BLACK START DG # 2, M .A.N B AND W DIESEL GENERATING UNITS 12 V48 60. MOTOREN AND TURBINEN UNION/MTU: P/N#8691700027 Vendor : SOLENOID VALVE, MTU PN: 8691700027. BRAND NEW AND ORIGINAL FROM GERMANY | 8691700027 | MTU
KIT,#RG2AHL0201 KIT, CYLINDER ROD GLAND CART KIT,--: STYLE: SEAL; TYPE: GLAND,WIPER SEAL,LIP SEAL,BACKUP WASHER ; APPLICATION: HYDRAULIC CYLINDERS OF THROTTLE VALVE A CTUATOR; ADDITIONAL DATA: RG GLAND, CONSISTS OF JEWEL GLAND AND S EALS, ITEM NO: 5 OF DWG NO: 624C673, FO R SERIES H AND 2H HYDRAULIC CYLINDERS O F THROTTLE VALVE ACTUATOR USED ON WESTI NGHOUSE STEAM TURBINES. PARKER HANNIFIN CORP/FLUIDEX DIV: P/N#RG2AHL0201 A. O. SMITH CORP/ELECTRIC MOTOR DIV: P/N#RG2AHL0201 Vendor :PARKER SEAL KIT PN: RG2AHL0201 Vendor :PARKER HANNIFIN RG2AHL0201 | RG2AHL0201 | PARKER
SWITCH:PROXIMITY,1P1T,8 VDC,1NC,ASTM F20 SWITCH,PROXIMITY: ACTION: 1P1T; VOLTAGE: 8 VDC; CONTACT ARRANGEMENT: 1NC; STANDARD/SPECIFICATION: ASTM F2071, FORD U-ES002, BSI BS EN 623 23, DIN EN 62323; ADDITIONAL DATA: SIZE: (11 MM X 18 MM) DIA X 56 MM LG. REF DWG NO. T99010. ELECTRICAL RATING: 8 VDC ACTUATOR: PROXIMITY SENSOR ENCLOSURE: GENERAL PURPOSE BHS WERKE SONTHOFEN: P/N#06.0713100 PEPPERL AND FUCHS: P/N#106328S PEPPERL AND FUCHS: Model#NCN8-18GM40-NO-V1 | NCN8-18GM40-NO-V1 | PEPPERL AND FUCHS
BREAKER,CRCT,MC,230/400V,2 P POLE,6 A,#5 BREAKER,CIRCUIT, MOLDED CASE: AMPERAGE: 6 A; CONNECTION: 2 SCREW TERMINAL; FRAME SIZE: 10 A; INTERRUPTING CAPACITY: 10KA AT 400V AC; POLE: 2 P; STANDARD/SPECIFICATION: IEC/EN 60898; TRIP: 6.6 A; VOLTAGE: 230/400V; ADDITIONAL DATA: ADDITIONAL DATA: MINIATURE CIRCUIT BREAKER, VOLTAGE 440V AC, PHASE 1, C CURVE , MOUNT: DIN RAIL , DEPTH: 70MM, USED FOR NEW BAND SCREEN SWGR AT QPP. SIEMENS ENERGY & AUTOMATION,IND. USA: P/N#5SY5206-7 | 5SY5206-7 | SIEMENS
CONTACTOR:RELAY,690V AC LINE,100 TO 110V CONTACTOR,RELAY: LINE VOLTAGE: 690V AC; COIL VOLTAGE: 100 TO 110V AC; AMPERAGE: 6A; POLE: 5; STANDARD/SPECIFICATION: IEC-750; ADDITIONAL DATA: ADDITIONAL DATA: RELAY CONTACTOR ELECTROMAGNETIC, SIZE: 45 MM WD X 37.5 MM HT X 72 MM DP, 6A AT 230V, CONTACT ARRANGEMENT 2NO2NC, CONT ACT S00, CONNECTION: SCREW, MOUNTING S CREW, USED FOR NEW BAND SCREEN SWGR AT QPP. SIEMENS ENERGY & AUTOMATION,IND. USA: P/N#3RH1122-1AG10 | 3RH1122-1AG10 | SIEMENS
RELAY,TIME DELAY,3 A,1CO,SPDT,#3RP15052A RELAY,TIME DELAY: CONTACT RATING: 3 A; CONTACT ARRANGEMENT: 1CO; ACTION: SPDT; COIL VOLTAGE: 24- 127V AC , 24V DC; TERMINAL: SCREW; MOUNT: DIN RAIL; STANDARD/SPECIFICATION: IEC721-3-3, IEC 1812-1, IEC 1000, IEC 9 47-5-1; ADDITIONAL DATA: ADDITIONAL DATA: MULTIFUNCTION, FREQUENCY 50 60HZ, TIMIN G RANGE: 0.05S TO 100H, TIMING MODE: ON DELAY OFF DELAY FLASHING, SOLID STATE T IME RELAY, INDUSTRIAL HOUSING, 22.5MM, CAGE CLAMP TERMINAL, 8 FUNCTION, 1 CO C ONTACT ELEMENTS, USED FOR NEW BAND SCREEN SWGR AT QPP SIEMENS ENERGY & AUTOMATION,IND. USA: P/N#3RP1505-2AQ30 | 3RP1505-2AQ30 | SIEMENS
RELAY,TIME DELAY,3 A,2CO,DPDT,#3RP15052B RELAY,TIME DELAY: CONTACT RATING: 3 A; CONTACT ARRANGEMENT: 2CO; ACTION: DPDT; COIL VOLTAGE: 24- 127V AC , 24V DC; TERMINAL: SCREW; MOUNT: DIN RAIL; STANDARD/SPECIFICATION: IEC721-3-3, IEC 1812-1, IEC 1000, IEC 9 47-5-1; ADDITIONAL DATA: ADDITIONAL DATA: MULTIFUNCTION, FREQUENCY 50 60HZ, TIMIN G RANGE: 0.05S TO 100H, TIMING MODE: ON DELAY OFF DELAY FLASHING, USED FOR NEW BAND SCREEN SWGR AT QPP. SIEMENS ENERGY & AUTOMATION,IND. USA: P/N#3RP1505-2BQ30 | 3RP1505-2BQ30 | SIEMENS
RELAY:GP,0.5-2 A,2CO,160 V AC,690 V AC,S RELAY,GENERAL PURPOSE: CONTACT RATING: 0.5-2 A; CONTACT ARRANGEMENT: 2CO; COIL VOLTAGE: 160 V AC; OPERATING AND LOAD VOLTAGE: 690 V AC; TERMINAL: SCREW; MOUNT: DIN RAIL; STANDARD/SPECIFICATION: BIS IS 3231; ADDITIONAL DATA: ADDITIONAL DATA: 3 PHASE MONITOR , FREQUENCY 50 60HZ, DI MENSION: 86 MM X 22.5 MM X 110 MM, USED FOR NEW BAND SCREEN SWGR AT QPP. SIEMENS ENERGY & AUTOMATION,IND. USA: P/N#3UG4615-1CR20 | 3UG4615-1CR20 | SIEMENS
MODL;DISCRETE,15-60VDC,2A,240V,5A,8CH MODULE, DISCRETE; INTERFACE:I/O INTERFACE FBM 241C SUPPORTS DISCRETE INPUTS/OUTPUT SIGNALS AT VOLTAGES OF: INPUTS:15 TO 60 V DC CONTACT (UNPROTECTED - NO FUSE, OR PROTECTED -FUSED); OUTPUTS:15 TO 60 V DC AT 2 A, OR 240 V AC AT 5 A SWITCH (EXTERNAL OR INTERNAL POWER SOURCE); INPUT/OUTPUT CHANNELS 8 INPUT AND 8 OUTPUT ISOLATED CHANNELS;POWER REQUIREMENTS INPUT VOLTAGE RANGE (REDUNDANT) 24 V DC +5%, -10%; PART NO: P0914WM; MNFR: INVENSYS FOXBORO FFT:MPCC | P0914WM | FOXBORO
MODL;FEM100,21-26VDC,FOXBORO MODULE, TYPE: FIELD BUS EXPANSION FEM 100; INPUT VOLTAGE: 21 TO 26 V DC PART NO:P0973CA; MNFR: INVENSYS FOXBORO FFT:# THE FIELDBUS EXPANSION MODULE (FEM100) PROVIDES FOUR EXPANDED FIELDBUSES TO THE FIELD CONTROL PROCESSOR 270 (FCP270). EACH OF THE FOUR EXPANDED FIELDBUSES CAN ACCOMMODATE UP TO THIRTY-TWO 200 SERIES FIELDBUS MODULES (FBMS) | P0973CA | FOXBORO
Motor Drives AC Drive 0.5HP, 230v 1PHASE in, 230v out | ATV12H037M2 | Schneider Electric
Junction box for EKL premium | 07-5103-9055 | BARTEC
Transmitter | EAS-TX-100 | Michell
Dip rod | 6.234.0.329.003.5 | MWM DEUTZ
Electric speed fine | 6.232.0.723.040.6 | MWM DEUTZ
Bearing bush | 6.234.0.432.002.2 | MWM DEUTZ
Bearing bush | 6.234.0.432.001.2 | MWM DEUTZ
Con-rod bsh | 6.234.0.431.001.4 | MWM DEUTZ
Con-rod bearing | 6.234.0.430.600.7 | MWM DEUTZ
Switch | SWT-679-1 | Qualitrol
Pressure relief Device | 208-007-05 | Qualitrol
Shield | SLD-602-1 | Qualitrol
SOLENOID A | 9X1413 | CAT
Variable-frequency Drive | SK2402 | Emerson
Coupler | C604 | ENERPAC
0P9895, LOADED PCB RFIF. MAINS . BYP . OR OUYP 480V 3PH | 0P9895 | Gutor
SOLENOID VALVE | 1025227.4662.024.00 | NORGREN
GE VeriDri Panametrics Moisture Transmitter with TURCK Cable | VeriDri | GE Panametrics
| PKG6M-2/CS10922 | TURCK
Enclosed Full Stroke Keyboard Built New Sale | DC6431X1-CC1
PRESSURE RELIEF VALVE | 208-023-01 | Qualitrol
Filter | CT117419-2 | PRATT WHITNEY
Filter | CT117737-3 | PRATT WHITNEY
CARD,CONTROL,FAN SPEED,FOR FAN 490-0023 P/N: 0P0010 | 0P0010 | Gutor
DCS Modules | SSC50D-S2511 | Yokogawa
DCS Modules | SNB10D-215/CU2N | Yokogawa
DCS Modules | SNB10D-215/CU2T | Yokogawa
DCS Modules | AEP7D-15 | Yokogawa
DCS Modules | S9756UV | Yokogawa
DCS Modules | SDV144-S63 | Yokogawa
DCS Modules | SAI143-H63 | Yokogawa
DCS Modules | SDV144-S63 | Yokogawa
DCS Modules | SDV541-S63 | Yokogawa
DCS Modules | SDV541-S63 | Yokogawa
DCS Modules | KS1-10*B | Yokogawa
DCS Modules | AKB331-M010 | Yokogawa
DCS Modules | SEA4D-16 | Yokogawa
DCS Modules | SED4D-16 | Yokogawa
DCS Modules | SED4D-16 | Yokogawa
DCS Modules | SED4D-16 | Yokogawa
DCS Modules | SEC401-51 | Yokogawa
DCS Modules | YCB301-C100 | Yokogawa
DCS Modules | YCB301-C300 | Yokogawa
DCS Modules | SCP451-51 | Yokogawa
| 1606XLERED | ALLEN-BRADLEY
| 1606XLE240E | ALLEN-BRADLEY
FIRE SENTRY FLAME DETECTOR | SS4-A2 | Honeywell
NW12H10 Drawout ACB | 48727 | SCHNEIDER ELECTRIC
Micrologic 5.0A selective protection for Masterpact NW | 48360 | SCHNEIDER ELECTRIC
Basic chassis withdrawable device for Masterpact NW08 to NW40 1000 Vac 3P | 48392 | SCHNEIDER ELECTRIC
Rear horizontal connection Masterpact NW08 to NW32 3P | 48143 | SCHNEIDER ELECTRIC
Rear horizontal connection Masterpact NW08 to NW32 3P | 48148 | SCHNEIDER ELECTRIC
MCH GEAR MOTOR for NW12H10 Drawout ACB | 48527 | SCHNEIDER ELECTRIC
Schneider XF 200/250 VAC/VDC FOR DRAWOUT BREAKER. MASTERPACT | 48484 | SCHNEIDER ELECTRIC
Schneider Electric, Masterpact, shunt trips, type MX, 200/250VAC 50/60Hz & 200/250VDC | 48494 | SCHNEIDER ELECTRIC
CDP Electric ESCUTCHEON FOR DRAWOUT BREAKER | 48603 | SCHNEIDER ELECTRIC
Auxiliary terminal shield (CB) / 2nd | 48595 | SCHNEIDER ELECTRIC
GE Rating Plug | SRPE7A3 | GE
GE Breaker | SELA36AT0150 | GE
COMMUNICATOR | 475FP1EKLUGMTS | ROSEMOUNT
PCA FAN MONITORING 8-CH | 0P0110 | Gutor
Amprobe RS-1007 PRO CAT IV 1000A Analog Clamp Meter | RS-1007 PRO | Amprobe
LUX METER | FT3424 | HIOKI
PRESSURE RELIEF VALVE | 208-60F | Qualitrol
2-ST1A1A starter motor, 125VDC,frame 2-ST, 10HP, Group III gear drive, SAE 3 mount, to replace starter model ST-169DIEXP1, GE# 354A1674P001 Rev. B | 2-ST1A1A | United States Energy Corp
Graphite Packing Kit for 6inch Masoneilan Globe Valve 38-41912 Graphite | 005675617966 | MASONEILAN
Outer Seal Ring for 6inch Masoneilan Globe Valve 38-41912 Graphite | 971977130931 | MASONEILAN
Inner Seal Ring for 6inch Masoneilan Globe Valve 38-41912 Ni-Resist, A 439 Ty D 3 | 971977121343 | MASONEILAN
MOTOR | 25296803001 | HYOSUNG INDUSTRIES CO LTD
Art. No.: 515-356-002-Reference: DV95 Original Filter Element From American Air Filter Dimensions:24x24x12 Inches | 515-356-002 | AAF
8PSI PRD With SWT-680-1 SWITCH | 208-024-01 | Qualitrol
B/N 3500/33-01-01, P/N PWA 149986-01D, S/N 12H00L97, with I/O PWA 149992-01, S/N 05D01J9E, all new hardware | 3500/33-01-01 | BENTLY NEVADA
PRESSURE RELIEF DEVICE | LPRD00-00007380 | Qualitrol
10PSI PRESSURE RELIEF DEVICE | 208-007-04 | Qualitrol
8PSI PRESSURE RELIEF DEVICE | 208-60Z | Qualitrol
12PSI PRESSURE RELIEF DEVICE | 208-60Y | Qualitrol
8PSI PRESSURE RELIEF DEVICE | LPRD00-00020893 | Qualitrol
10PSI PRESSURE RELIEF DEVICE | 208-011-04 | Qualitrol
Probe HT400 | 113-524-760 | GE
Probe DA412 | 58638 | GE
Probe DA401 | 58637 | GE
CABLE DA231 | 53616 | GE
O-RING | 18-76504-0039-1 | Zenith
GASKET | 15-19803-0004-1 | Zenith
CLIP | 15-83502-0001-1 | Zenith
BEARING #1, P/N: 05C630C3 / 05C630-3 | 05C630C3 | FLENDER GRAFFENSTADEN
BEARING #2, P/N: 05D282F3 / 05D282-3 | 05D282F3 | FLENDER GRAFFENSTADEN
BEARING #3, P/N: 05D283F3 / 05D283-3 | 05D283F3 | FLENDER GRAFFENSTADEN
THERMORESISTANCE ACCORDING TO NUOVO PIGNONE SPEC. RT-77552 REV.1 | RTO77552 | NUOVO PIGNONE OEM
THERMORESISTANCE ACCORDING TO NUOVO PIGNONE SPEC. SOM32448 REV.11 | RTO77740 | NUOVO PIGNONE OEM
THERMOCOUPLE ACCORDING TO NUOVO PIGNONE SPEC. ITN66520 REV.22 | RTO68356 | NUOVO PIGNONE OEM
THERMOCOUPLE ACCORDING TO NUOVO PIGNONE SPEC. ITN66520 REV.22 | RTO69366 | NUOVO PIGNONE OEM
THERMOCOUPLE ACCORDING TO NUOVO PIGNONE SPEC. ITN66520 REV.22 | RTO69367 | NUOVO PIGNONE OEM
VALVE:COMPRESSOR,DISCHARGE,AIR,1-5/8 IN, VALVE,COMPRESSOR: FUNCTION: DISCHARGE; PROCESS FLUID: AIR; SIZE: 1-5/8 IN; BODY MATERIAL: STL; STANDARD/SPECIFICATION: DIN 3341; ADDITIONAL DATA: TYPE: COMPRESSOR, DISCHARGE OPERATED: PRESSURE CONFIGURATION: 1-WAY CONNECTION: FLANGE TRIM: STL TRIM SOFTGOODS: GASKET INGERSOLL RAND/MILLER FALLS CO: 3W21936T INGERSOLL RAND/MILLER FALLS CO: P/N#31517725 | 31517725 | INGERSOLL RAND
EXPLOSION PROOF SOLENOID VALVE(KANEKO) M00DU-10-AE12PRS-M-01 AC100V two position three-way Specification: ExdⅡBT4 -20℃～40℃ electrical interface: G1/2 ; AIR CONNECTION:Rc3/8 BODY MATERIAL:AL; IP65 7.9W PRESSURE RATING:0～0.4MPa CV=0.22 | M00DU-10-AE12PRS-M-01 | KANEKO
GEFIC693CPU364-RMN REMANUFACTURED 90/30 CPU WITH | IC693CPU364 | GE
GEFIC693PWR330-RMN REMANUFACTURED POWER SUPPLY | IC693PWR330 | GE
GEFIC693CHS391-RMN REMANUFACTURED 10 SLOT BASE | IC693CHS391 | GE
B/N 3500/92-01-01-00, P/N PWA 136180-01P , S/N 13L02872, with Modbus RS232/422 I/O , P/N PWA 125736-01, S/N 04I00Y93 | 3500/92-01-01-00, P/N PWA 136180-01P | BENTLY NEVADA
FILTER REGULATOR | B73G-2BK-AD1-RMN | NORGREN
FILTER REGULATOR | B72G2AKQE1RMG | NORGREN
Positioner TZIDC-200 Electro-Pneumatic Positioner, with flameproof enclosure, intelligent, software-configurable with Local Communication Interface (LKS) and HART communication Code: V18348.10.1.1.3.2.1.1.1.1.0.CF3 10 - Case / Mounting : Case made of aluminium, varnished, for mounting to linear actuators acc. DIN / IEC 534 / NAMUR or to rotary actuators acc. VDI / VDE 3845 1 - Operation : With operator panel and display integrated in the enclosure cover 1 - Explosion Protection : ATEX Ex d II C T4/T5/T6 Gb 3 - Output / Safe Position (in case of an electrical power failure) : Double acting, fail safe 2 - Connections : Cable: Thread M20 x 1.5, air pipe: Thread 1/4-18 NPT 1 - Option Modules for Analog or Digital Position Feedback : Plug-in module for analog position feedback, signal range 4 ... 20 mA, two-wire 1 - Optional Mechanical Kit for Digital Position Feedback : Mechanical kit for digital position feedback with proximity switches SJ2-SN (NC or logical 1) 1 - Parameter Setting / Bus Address : Factory setting for HART devices 1 - Design (Varnish / Coding) : Standard 0 - Device Identification Label : Without CF3 - Certificate of Compliance : Test report 2.2 acc. EN 10204 (DIN 50049-2.2) | V18348.10.1.1.3.2.1.1.1.1.0.CF3 | ABB
Dual stage Sensilevel displacer level switch mod. 7734-220 -1S Carbon steel flanged connection 3" ANSI150 RF. S.S. AISI 316L displacer. Length suspension cable = 3 mt. Nr. 2 mechanism groups with nr.1 switch SPDT std for a resistive load 15 A @ 240 Va.c. Type 1 C.S. / aluminium housing- IP55. Electrical connection 3/4" NPT. Std painting for the body. Std painting for the housing. DESIGN CONDITIONS: Medium = oil. Density :0,85Kg/l. Design pressure :16bar g. Design temperature :80°C. Code :S7700 | S7700 | NUOVO PIGNONE OEM
POINTWATCH IR COMBUSTIBLE GAS DETECTOR BAS-100, MODEL 505A3A2A1W P.NO: 006748-002 | 006748-002 | DET-TRONICS
COMBUSTIBLE GAS DETECTION SYSTEM MODELS 1000&2000 COMBUSTIBLE GAS SENSOR, MODULE: CGSS1A6V2R1X, P.NO: 006824-002 | 006824-002 | DET-TRONICS
7PSI PRD With GASKET | LPRD00-00012820 with 207-60-14B | Qualitrol
Miniature Sensor | S13282PD3S276 | MINCO
CONTROLLER,MICRO BASIC,#IC200UDR005BG CONTROLLER,--: TYPE: MICRO BASIC; RANGE: 0 TO 100 DEG; RATING: 240 VAC ,50/60 HZ, 8.2 A; CONNECTION: SCREW TERMINALS; ADDITIONAL DATA: ITEM ADDITIONAL DESCRIPTION: PART DESC RIPTION:MIRO CONTROLLER 16 DC INOUTS 1 DC OUTPUT 11 RELAY OUTPUTS Q1:24 VD C,0.75 A MAX Q2-12 ,24 VDC 240 VAC ,2A MAX I1-16 , 24 VDC, 7.5MA FOR PP10 GA S TURBINE WATER WASH. GENERAL ELECTRIC/DIELEKTROL/LENTRONICS: P/N#IC200UDR005-CH | IC200UDR005 | GE
GE FANUC SERIES 90-30 PLC PROFIBUS DP CARD MODEL : HE693PBM101F | IC693PBM200 | GE
FAN SUB:ASSY 230V AC FOR ROOF XXW W2S130-AA03-87 | 0M-94028 | ebmpapst
MOTOR,ELEC,AC,40 HP,460,3 P,60HZ,1780,#5 MOTOR,ELECTRIC, VOLT:120 HP:7.5 RPM:1750 AMP:56 A MAX:65 A TYPE: CD288ATDY MODEL:5BY555XD804A800 ELECTRIC MOTOR FOR HAZARDUS LOCATION MOTOR,ELECTRIC, AC: POWER: 40 HP; VOLTAGE: 460; PHASE: 3; FREQUENCY: 60; AMPERAGE: 48.5 A; SPEED: 1780; FRAME: 324T; STANDARD/SPECIFICATION: NEMA MG 1; ADDITIONAL DATA: RADIATOR FAN MOTOR | 5KS324SS2115D20 | GE
Starter | CR306C002ACDT | GE
Positioner TZID-C Code: V18345.10.1.0.1.2.0.00.1 10 - Case / Mounting : Case made of aluminium, varnished, for mounting to linear actuators acc. DIN / IEC 534 / NAMUR or to rotary actuators acc. VDI / VDE 3845 1 - Input / Communication Port : Input 4 ... 20 mA, two-wire, with connector plug for LKS adapter 0 - Explosion Protection : Without 1 - Output / Safe Position (in case of an electrical power failure) : Single acting, fail safe 2 - Connections : Cable: Thread 1/2-14 NPT, air pipe: Thread 1/4-18 NPT 0 - Option Modules for Analog or Digital Position Feedback : Without 00 - Optional Mechanical Kit for Digital Position Feedback : Without 1 - Design (Varnish / Coding) : Standard | V18345.10.1.0.1.2.0.00.1 | ABB
VALVE PRESSURE RELIEF | 208-003-01 | Qualitrol
SUB ASSEMBLY FAN 230VAC DUAL SPEED XXW Part# 0M-94026 EBM P/N R2E220-AA40-71 | 0M-94026 | ebmpapst
FLOW SWITCH | FS254 | MCDONNEL & MILLER
FLOW SWITCH | FS4-3J | MCDONNEL & MILLER
FLEXIBLE COUPLING | KG967A0-609/3 | FLENDER GRAFFENSTADEN
CAPACITOR | 202-0109 | Gutor
PRESSURE RELIEF VALVE | LPRD00-00007570 | Qualitrol
CAPACITOR 110MF 250V P/N 234-0117 | 234-0117 | Gutor
CAPACITOR 350V 6800EF ELECTROLYTE P/N 202-3682 | 202-3682 | Gutor
SUB ASSEMBLY FAN 230VAC DUAL SPEED XXW P/N 0M-8190 | 0M-8190 | Gutor
IC SRAM 8KX8 RTC 200NS W/BAT P/N 351-0003 | 351-0003 | Gutor
FAN MONITOR 8 CH FOR LOW FAN SPEED 120-240VAC P/N 0P2438 | 0P2438 | Gutor
1 inch Masoneilan Micro flow Globe Control Valve [28-28152], Stainless Steel Body CL300# RF Flanges c/w Pneumatic Actuator, Electro-pneumatic Positioner 7700E and Air Filter Regulator with Gauge 78-40/G. Tag # 6014-PV-030A | 28-21114 | Masoneilan
1.5 inch Masoneilan Globe Control Valve [88-21114], Carbon Steel Body CL600# RF Flanges c/w Pneumatic Actuator, Electro-pneumatic Positioner 4701E and Air Filter Regulator with Gauge 78-40/G. Tag # Y021-TV 004 | 88-21114 | Masoneilan
Modular Terminal Block | 9502600000 SAKK 4 | Weidmuller
Solenoid Valve | 8571400.8441.02400 | Norgren
TRANSMITTER GENERAL PURPOSE GAS FLOW - PRESSURE RANGE : STANDARD 0 PSIG TO 2700 PSIG - ( 1 BAR TO 187 BAR ) - CONNECTION DATA : PROCESS CONNECTION FLANGED AND COMPRESSION FITTING - <(>,<)> - TRANSDUCER ( SENSOR ) NOT INCLUDED - MANUFACTURE : GE SENSING PANAMETRIC - MODEL/TYPE : PANAMETRIC DIGITAL FLOW XGM868I | XGM868I-1-12-OI-03154-0 | GE
Positioner | DVC6200F | Fisher
Mounting Bracket for the about DVC |  | Fisher
Digital Indicating Controller | UT35A-000-10-00 | Yokogawa
PRESSURE RELIEF VALVE | LPRD00-00242582 | Qualitrol
TIMER OMRON | H3CR-A AC100-240/DC100-125 | OMRON
TIMER OMRON | H3CR-A8E AC100-240/DC100-125 | OMRON
TRACK MOUNT FRONT CONNECTING SOCKER 11PIN | P2CF-11 | OMRON
TRACK MOUNT FRONT CONNECTING SOCKET 8PIN | P2CF-08 | OMRON
AIR FILTER AND SHUT OFF VALVE ASSY | 64/03001673/1 | SIEMENS
HIGH ENERGY SPARK GENERATOR 24 | 64/07001494/1 | SIEMENS
CABLE | MW03732D/541 | SIEMENS
KIT,65 3" VT | 904101 | OCV Control Valves
OVERHAUL KIT,PIL 1340 VT | 935115 | OCV Control Valves